## Albert Street
Works Order | Request | Contractor | Address | Actual Completion | Order Task Description | Request Description | Request Date | Sample Trade | Sample Job Type | Repairs Inspector | Actual Order Value | Actual VAT Value | Total
492416 | 429555 | Midlands Building & Maintenance Limited | FLATS 19 TO 25, ALBERT STREET, LYDNEY, GLOUCESTERSHIRE | 2023-07-27 14:57 | Ridge:Rake out and repoint ridge tiles with coloured mortar (1:3). | Attend and repair (roofing medium) Hole in roof over 21 | 2023-06-06 11:38 | Roofers/chimneys | Responsive | Naomi Gilfillan | 2306.17 | 461.23 | 1000
490325 | 429555 | Centigen FM | FLATS 19 TO 25, ALBERT STREET, LYDNEY, GLOUCESTERSHIRE | 2023-06-08 14:21 | 1:Attend and repair; complete works as necessary. 2:SOR to be varied upon completion to reflect actuals. 3:Call Schedulers from site to book any follow on. | Attend and repair (roofing medium) Hole in roof over 21 | 2023-06-06 11:38 | Roofers/chimneys | Responsive | Naomi Gilfillan | 51.55 | 10.31 | 61.86
1061.86
265.465
[11 empty] | New Windows |  | 2764.21
Note on N2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Capped at £250 each

## Ayland Close
Works Order | Request | Contractor | Address | Post Code | Actual Completion | Request Description | Request Date | Sample Trade | Sample Job Type | Repairs Inspector | Actual Order Value | Actual VAT Value | total
504787 | 441377 | Hygiene Services | FLATS 1 TO 4, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | 2024-01-03 14:58 | owners son has called to report that the wastes are taking a long time to drain down | 2024-01-02 14:58 |  | Responsive | Naomi Gilfillan | 80 | 16 | 96
503746 | 440553 | Centigen FM | FLATS 1 TO 4, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | 2023-12-22 10:05 | Attend and repair (roofing small) flat roof leaking above flat 1 ayland close (private leasehold) | 2023-12-14 09:07 | Roofers/chimneys | Responsive | Naomi Gilfillan | 75.28 | 15.06 | 90.34
489865 | 429162 | Centigen FM | FLATS 1 TO 4, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | 2023-05-31 15:24 | Spoken with Leaseholder have raised as an E due to water being in contact with electrics since april time please chekc and make safe Attend and repair (Electrical small) | 2023-05-31 11:01 | Electrical | Responsive | Naomi Gilfillan | 29.63 | 5.93 | 35.56
489113 | 426321 | Snape Contracting Ltd | FLATS 1 TO 4, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | 2023-07-05 18:04 | fence in poor condition Attend and Repair (small fencing) | 2023-04-04 10:35 | Fencing | Responsive | Naomi Gilfillan | 281.65 | 56.33 | 337.98
486253 | 426321 | Centigen FM | FLATS 1 TO 4, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | 2023-05-10 08:35 | fence in poor condition Attend and Repair (small fencing) | 2023-04-04 10:35 | Fencing | Responsive | Naomi Gilfillan | 26.94 | 5.39 | 32.33
486252 | 426320 | Centigen FM | FLATS 1 TO 4, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | 2023-04-06 09:34 | front entrance water leak Attend and repair (roofing medium) | 2023-04-04 10:32 | Roofers/chimneys | Responsive | Naomi Gilfillan | 51.55 | 10.31 | 61.86
654.07
163.5175
486913 | 426861 | Centigen FM | FLATS 5 TO 8, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | 2023-11-08 15:23 | Hi All, Following completion of SCS please raise repair to block - guttering to front of block, the right hand side end is misaligned. Guttering to the rear of the block is also misaligned to left hand side end. Clean & clear gutters to block.Timber cladding to rear of block, beneath window of ground floor flat 5, 1-2 sections of panelling missing, replace but check that wooden framework is in good order. Thanks. Attend and repair (Plumbing small): Attend and repair (Carpentry small) | 2023-04-14 14:07 | Carpentry | Responsive | Naomi Gilfillan | 98.95 | 19.79 | 118.74
486912 | 426861 | Centigen FM | FLATS 5 TO 8, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | 2023-05-10 13:53 | Hi All, Following completion of SCS please raise repair to block - guttering to front of block, the right hand side end is misaligned. Guttering to the rear of the block is also misaligned to left hand side end. Clean & clear gutters to block.Timber cladding to rear of block, beneath window of ground floor flat 5, 1-2 sections of panelling missing, replace but check that wooden framework is in good order. Thanks. Attend and repair (Plumbing small): Attend and repair (Carpentry small) | 2023-04-14 14:07 | Plumbing | Responsive | Naomi Gilfillan | 45.35 | 9.07 | 54.42
173.16
43.29
505494 | 441959 | Centigen FM | FLATS 9 TO 12, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | 2024-01-17 10:07 | gutters blocked | 2024-01-10 11:35 | Plumbing | Responsive | Naomi Gilfillan | 2176.64 | 435.33 | 1000
505493 | 440163 | Centigen FM | FLATS 9 TO 12, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | 2024-03-27 17:09 | Attend and repair (roofing small) Roof leaking between 9 and 10, is near electrics but not getting on them yet | 2023-12-07 14:26 | Roofers/chimneys | Responsive | Naomi Gilfillan | 202.94 | 40.59 | 243.53
503772 | 440163 | Centigen FM | FLATS 9 TO 12, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | 2024-01-08 14:12 | Attend and repair (roofing small) Roof leaking between 9 and 10, is near electrics but not getting on them yet | 2023-12-07 14:26 | Roofers/chimneys | Responsive | Naomi Gilfillan | 59.7 | 11.94 | 71.64
492743 | 431459 | Centigen FM | FLATS 9 TO 12, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | 2023-07-24 09:41 | Reported from number 10: Wood panel under the window of number 9 is coming off Attend and repair (Carpentry small) | 2023-07-13 13:46 | Carpentry | Responsive | Naomi Gilfillan | 73.23 | 14.65 | 87.88
1403.05
350.7625
511699 | 446270 | Centigen FM | FLATS 21 TO 32, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | 2024-03-26 08:27 | Newent - Monthly alarm test | 2024-03-25 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
509612 | 444850 | Centigen FM | FLATS 21 TO 32, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | 2024-03-01 15:20 | Newent - Monthly alarm test | 2024-02-27 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
509154 | 444531 | Centigen FM | FLATS 21 TO 32, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | 2024-02-21 16:15 | Inspection to attend and repair - Plumbing as per julia from SCS- clean and clear the guttering above Flat 28, Ayland Close - the LHS corner is full of plants and debris | 2024-02-20 16:01 | Plumbing | Responsive | Naomi Gilfillan | 65.97 | 13.19 | 79.16
507414 | 443211 | Centigen FM | FLATS 21 TO 32, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | 2024-02-05 16:13 | Newent - Monthly alarm test | 2024-01-28 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
504663 | 441267 | Centigen FM | FLATS 21 TO 32, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | 2024-01-04 12:34 | Newent - Monthly alarm test | 2024-01-01 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
502851 | 439814 | Centigen FM | FLATS 21 TO 32, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | 2023-12-08 13:12 | Newent - Monthly alarm test | 2023-12-03 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
500667 | 438088 | Centigen FM | FLATS 21 TO 32, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | 2023-11-10 14:21 | Newent - Monthly alarm test | 2023-11-05 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
500503 | 437957 | Centigen FM | FLATS 21 TO 32, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | 2023-11-10 13:51 | blocked and leaking gutter/downpipe reported by no 25 | 2023-11-02 10:27 | Plumbing | Responsive | Naomi Gilfillan | 45.35 | 9.07 | 54.42
498869 | 436567 | Centigen FM | FLATS 21 TO 32, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | 2023-10-12 09:25 | Newent - Monthly alarm test | 2023-10-11 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
496240 | 434335 | Centigen FM | FLATS 21 TO 32, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | 2023-09-18 15:29 | Newent - Monthly alarm test | 2023-09-11 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
494946 | 433250 | Centigen FM | FLATS 21 TO 32, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | 2023-08-18 16:11 | Newent - Monthly alarm test | 2023-08-18 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
493302 | 431926 | Centigen FM | FLATS 21 TO 32, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | 2023-07-25 09:56 | Newent - Monthly alarm test | 2023-07-22 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
491382 | 430412 | Centigen FM | FLATS 21 TO 32, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | 2023-06-29 12:14 | Newent - Monthly alarm test | 2023-06-25 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
489997 | 429264 | Centigen FM | FLATS 21 TO 32, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | 2023-06-02 15:37 | Newent - Monthly alarm test | 2023-06-02 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
488261 | 427879 | Centigen FM | FLATS 21 TO 32, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | 2023-05-09 12:36 | Newent - Monthly alarm test | 2023-05-05 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
486606 | 426610 | Centigen FM | FLATS 21 TO 32, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | 2023-05-19 14:09 | Attend and repair (Plumbing small) Leaking overflows above rear communal entrance door to Block 25-27, step area in front of door is now very wet and slippery | 2023-04-11 13:50 | Plumbing | Responsive | Naomi Gilfillan | 35.47 | 7.09 | 42.56
486604 | 426608 | Centigen FM | FLATS 21 TO 32, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | 2023-04-26 11:35 | Inspection to attend and repair - Plumbing Leaking gutter where it meets the downpipe on Block 25-27, rear elevation which faces onto Foley Road. | 2023-04-11 13:43 | Plumbing | Responsive | Naomi Gilfillan | 162.86 | 32.57 | 195.43
486507 | 426516 | Centigen FM | FLATS 21 TO 32, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | 2023-04-12 08:21 | Newent - Monthly alarm test | 2023-04-09 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
486155 | 426236 | Centigen FM | FLATS 21 TO 32, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | 2023-04-04 13:41 | Please attend to look at gushing water overflow pipe Attend and repair (Plumbing small) | 2023-04-03 10:40 | Plumbing | Responsive | Naomi Gilfillan | 35.47 | 7.09 | 42.56
897.83
74.8192
Note on N16: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cap at £250 per property

## Colchester Close
Works Order | Request | Contractor | Post Code | Actual Completion | Request Description | Sample Trade | Sample Job Type | Repairs Inspector | Actual Order Value | Actual VAT Value | total
498281 | 436103 | Centigen FM | GL14 1PU | 2023-10-04 09:01 | Please erect sign ''parking for residents and visitors only | Carpentry | Responsive | Andy Young | 26.94 | 5.39 | 32.33
2.6942

## Glebe Road
Works Order | Request | Contractor | Address | Post Code | Actual Completion | Order Task Description | Request Description | Request Date | Sample Trade | Sample Job Type | Repairs Inspector | Actual Order Value | Actual VAT Value | total
506891 | 442914 | Centigen FM | FLATS 79 TO 93, GLEBE ROAD, NEWENT, GLOUCESTERSHIRE | GL18 1BN | 2024-01-24 16:36 | Roof:Carry out temporary repairs to any type of slate/tiled area of roof as required to ensure area is weatherproof, provide report to Client Representative. | THIS IS FOR FLAT 89 Previous attempts to fix leaking roof have failed please carry out SOR code to resolve. If you need access you MUST call | 2024-01-23 15:53 | Roofers/chimneys | Responsive | Naomi Gilfillan | 32.79 | 6.56 | 39.35
504861 | 441446 | Centigen FM | FLATS 79 TO 93, GLEBE ROAD, NEWENT, GLOUCESTERSHIRE | GL18 1BN | 2024-01-03 12:51 | Attend and repair (roofing small) temp repair has failed - water leaking through onto chimney breast ROOFING DAYWORKS (where no SOR applicable) | temp repair has failed - water leaking through onto chimney breast | 2024-01-03 09:15 | Roofers/chimneys | Responsive | Naomi Gilfillan | 59.73 | 11.95 | 71.68
503355 | 440250 | Centigen FM | FLATS 79 TO 93, GLEBE ROAD, NEWENT, GLOUCESTERSHIRE | GL18 1BN | 2024-02-02 12:11 | ROOFING DAYWORKS (where no SOR applicable) | please investigate and report back further works - Please call lease holder when on the way or there. Water coming down walls and sections of ceiling. Went into attic space and lots of wet damp areas around the chimney breast. This is running down the breat and travelling down into bedroom walls and across ceiling and leaking out of plasterboard joints. Looks like flashing have gone around chimney breast. | 2023-12-08 11:58 | Roofers/chimneys | Responsive | Naomi Gilfillan | 456.59 | 91.32 | 547.91
503281 | 440181 | Centigen FM | FLATS 79 TO 93, GLEBE ROAD, NEWENT, GLOUCESTERSHIRE | GL18 1BN | 2023-12-07 15:55 | Carpentry - Out of Hours EmergencyCarpentry - Out of Hours Emergency | OOH - Carpentry flat 89 glebe road - leasehold - roof leaking around chimney | 2023-12-07 15:55 | Carpentry | Responsive | Naomi Gilfillan | 28.98 | 5.8 | 34.78
693.72
86.715

## Harrison Way
Works Order | Request | Contractor | Address | Post Code | Actual Completion | Request Description | Request Date | Sample Trade | Sample Job Type | Repairs Inspector | Actual Order Value | Actual VAT Value | total
511224 | 445986 | Centigen FM | FLATS & SHOPS 30 TO 32, HARRISON WAY, LYDNEY, GLOUCESTERSHIRE | GL15 5BN | 2024-03-21 14:04 | Lydney - Monthly alarm test | 2024-03-19 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
509285 | 444607 | Centigen FM | FLATS & SHOPS 30 TO 32, HARRISON WAY, LYDNEY, GLOUCESTERSHIRE | GL15 5BN | 2024-02-26 15:56 | Lydney - Monthly alarm test | 2024-02-22 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
507271 | 443113 | Centigen FM | FLATS & SHOPS 30 TO 32, HARRISON WAY, LYDNEY, GLOUCESTERSHIRE | GL15 5BN | 2024-01-31 16:26 | Lydney - Monthly alarm test | 2024-01-26 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
504343 | 440998 | Centigen FM | FLATS & SHOPS 30 TO 32, HARRISON WAY, LYDNEY, GLOUCESTERSHIRE | GL15 5BN | 2024-01-02 08:30 | Lydney - Monthly alarm test | 2023-12-22 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
502333 | 439355 | Centigen FM | FLATS & SHOPS 30 TO 32, HARRISON WAY, LYDNEY, GLOUCESTERSHIRE | GL15 5BN | 2023-11-29 15:10 | Lydney - Monthly alarm test | 2023-11-25 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
501200 | 438498 | Centigen FM | FLATS & SHOPS 30 TO 32, HARRISON WAY, LYDNEY, GLOUCESTERSHIRE | GL15 5BN | 2023-11-30 11:32 | Attend and repair (Electrical small) light in the communal area downstairs is constantly on, its as if the switch has been wedged on. | 2023-11-10 14:09 | Electrical | Responsive | Naomi Gilfillan | 15.57 | 3.11 | 18.68
500479 | 437937 | Centigen FM | FLATS & SHOPS 30 TO 32, HARRISON WAY, LYDNEY, GLOUCESTERSHIRE | GL15 5BN | 2023-11-02 15:00 | Lydney - Monthly alarm test | 2023-11-02 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
498506 | 436282 | Centigen FM | FLATS & SHOPS 30 TO 32, HARRISON WAY, LYDNEY, GLOUCESTERSHIRE | GL15 5BN | 2023-10-09 09:07 | Lydney - Monthly alarm test | 2023-10-05 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
496239 | 434334 | Centigen FM | FLATS & SHOPS 30 TO 32, HARRISON WAY, LYDNEY, GLOUCESTERSHIRE | GL15 5BN | 2023-09-12 16:27 | Lydney - Monthly alarm test | 2023-09-09 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
494529 | 432908 | Centigen FM | FLATS & SHOPS 30 TO 32, HARRISON WAY, LYDNEY, GLOUCESTERSHIRE | GL15 5BN | 2023-08-16 15:34 | Lydney - Monthly alarm test | 2023-08-11 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
492844 | 431534 | Centigen FM | FLATS & SHOPS 30 TO 32, HARRISON WAY, LYDNEY, GLOUCESTERSHIRE | GL15 5BN | 2023-07-18 13:05 | Lydney - Monthly alarm test | 2023-07-15 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
490951 | 430081 | Centigen FM | FLATS & SHOPS 30 TO 32, HARRISON WAY, LYDNEY, GLOUCESTERSHIRE | GL15 5BN | 2023-06-22 12:02 | Lydney - Monthly alarm test | 2023-06-17 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
489252 | 428685 | Centigen FM | FLATS & SHOPS 30 TO 32, HARRISON WAY, LYDNEY, GLOUCESTERSHIRE | GL15 5BN | 2023-05-24 14:16 | Lydney - Monthly alarm test | 2023-05-21 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
487719 | 427480 | Centigen FM | FLATS & SHOPS 30 TO 32, HARRISON WAY, LYDNEY, GLOUCESTERSHIRE | GL15 5BN | 2023-04-28 12:31 | Lydney - Monthly alarm test | 2023-04-27 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
467.83
155.9433

## jubilee place
Works Order | Request | Contractor | Address | Post Code | Actual Completion | Request Description | Request Date | Sample Trade | Sample Job Type | Repairs Inspector | Actual Order Value | Actual VAT Value | total
509866 | 445054 | Centigen FM | FLATS 25 TO 32, JUBILEE PLACE, STAUNTON, GLOUCESTER, GLOUCESTERSHIRE | GL19 3RS | 2024-03-07 16:23 | Gloucester - Monthly alarm test | 2024-02-29 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
509733 | 444942 | Centigen FM | FLATS 25 TO 32, JUBILEE PLACE, STAUNTON, GLOUCESTER, GLOUCESTERSHIRE | GL19 3RS | 2024-03-22 10:24 | Attend and repair (Electrical small) | 2024-02-28 08:44 | Electrical | Responsive | Naomi Gilfillan | 29.63 | 5.93 | 35.56
507430 | 443227 | Centigen FM | FLATS 25 TO 32, JUBILEE PLACE, STAUNTON, GLOUCESTER, GLOUCESTERSHIRE | GL19 3RS | 2024-02-07 15:21 | Gloucester - Monthly alarm test | 2024-01-28 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
504602 | 441208 | Centigen FM | FLATS 25 TO 32, JUBILEE PLACE, STAUNTON, GLOUCESTER, GLOUCESTERSHIRE | GL19 3RS | 2024-01-04 12:33 | Gloucester - Monthly alarm test | 2023-12-29 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
502681 | 439658 | Centigen FM | FLATS 25 TO 32, JUBILEE PLACE, STAUNTON, GLOUCESTER, GLOUCESTERSHIRE | GL19 3RS | 2023-12-05 16:32 | Gloucester - Monthly alarm test | 2023-11-30 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
499663 | 437260 | Centigen FM | FLATS 25 TO 32, JUBILEE PLACE, STAUNTON, GLOUCESTER, GLOUCESTERSHIRE | GL19 3RS | 2023-11-07 16:24 | Attend and repair (Carpentry small). Please can a job be raised for Centigen to attend and assess the door lock . If this needs changing due to H&S then please change . | 2023-10-20 10:23 | Carpentry | Responsive | Naomi Gilfillan | 96.65 | 19.32 | 115.97
499139 | 436800 | Centigen FM | FLATS 25 TO 32, JUBILEE PLACE, STAUNTON, GLOUCESTER, GLOUCESTERSHIRE | GL19 3RS | 2023-11-07 14:30 | Gloucester - Monthly alarm test | 2023-10-15 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
497124 | 435159 | Centigen FM | FLATS 25 TO 32, JUBILEE PLACE, STAUNTON, GLOUCESTER, GLOUCESTERSHIRE | GL19 3RS | 2023-09-22 15:20 | Gloucester - Monthly alarm test | 2023-09-15 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
495276 | 433521 | Centigen FM | FLATS 25 TO 32, JUBILEE PLACE, STAUNTON, GLOUCESTER, GLOUCESTERSHIRE | GL19 3RS | 2023-08-23 16:40 | Attend and repair (drainage small) broken drain cover in carpark adjacent to flats 25 -28 to be replaced | 2023-08-23 11:14 | Drainage | Responsive | Naomi Gilfillan | 26.94 | 5.39 | 32.33
495037 | 433326 | Centigen FM | FLATS 25 TO 32, JUBILEE PLACE, STAUNTON, GLOUCESTER, GLOUCESTERSHIRE | GL19 3RS | 2023-08-22 14:25 | Gloucester - Monthly alarm test | 2023-08-21 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
493628 | 432173 | Centigen FM | FLATS 25 TO 32, JUBILEE PLACE, STAUNTON, GLOUCESTER, GLOUCESTERSHIRE | GL19 3RS | 2023-07-28 12:49 | Gloucester - Monthly alarm test | 2023-07-27 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
491790 | 430730 | Centigen FM | FLATS 25 TO 32, JUBILEE PLACE, STAUNTON, GLOUCESTER, GLOUCESTERSHIRE | GL19 3RS | 2023-07-03 14:43 | Gloucester - Monthly alarm test | 2023-06-29 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
490108 | 429351 | Centigen FM | FLATS 25 TO 32, JUBILEE PLACE, STAUNTON, GLOUCESTER, GLOUCESTERSHIRE | GL19 3RS | 2023-06-06 14:12 | Gloucester - Monthly alarm test | 2023-06-03 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
488281 | 427899 | Centigen FM | FLATS 25 TO 32, JUBILEE PLACE, STAUNTON, GLOUCESTER, GLOUCESTERSHIRE | GL19 3RS | 2023-05-10 12:35 | Gloucester - Monthly alarm test | 2023-05-05 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
487676 | 427453 | Centigen FM | FLATS 25 TO 32, JUBILEE PLACE, STAUNTON, GLOUCESTER, GLOUCESTERSHIRE | GL19 3RS | 2023-05-03 15:31 | Replace Consumer unit with RCBO board - planned maintinace contract - in both blocks | 2023-04-26 11:18 | Electrical | Planned Maintenance | Naomi Gilfillan | 580.55 | 116.11 | 696.66
486649 | 426647 | Centigen FM | FLATS 25 TO 32, JUBILEE PLACE, STAUNTON, GLOUCESTER, GLOUCESTERSHIRE | GL19 3RS | 2023-04-18 14:09 | ONLINE - Doors, Locks: Doors; Front door; Communal door lock broken; Wooden; building not secure | 2023-04-11 19:08 | Carpentry | Responsive | Naomi Gilfillan | 45.38 | 9.08 | 54.46
486526 | 426535 | Centigen FM | FLATS 25 TO 32, JUBILEE PLACE, STAUNTON, GLOUCESTER, GLOUCESTERSHIRE | GL19 3RS | 2023-04-12 13:06 | Gloucester - Monthly alarm test | 2023-04-08 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
1349.58
168.6975

## Leaze Court
Works Order | Request | Contractor | Address | Post Code | Actual Completion | Request Description | Request Date | Sample Trade | Sample Job Type | Repairs Inspector | Actual Order Value | Actual VAT Value | total
511094 | 445889 | R.J.CONTRACTING | LEAZE COURT, MOUNT PLEASANT, LYDNEY, GLOUCESTERSHIRE | GL15 5QP | 2024-03-18 16:09 | Dayworks - Routine Clearance of household items such as a sofa, mattress and fridge ect near gates at leaze court | 2024-03-15 16:34 |  | Responsive | Andy Young | 225 | 45 | 270
506542 | 442760 | Centigen FM | LEAZE COURT, MOUNT PLEASANT, LYDNEY, GLOUCESTERSHIRE | GL15 5QP | 2024-01-22 16:19 | as per Rob at hygeine drain has collapsed, Tarmac area where washing lines are near flats 5/7 he has rodded but appears drain has collapsed. please can you confirm ownership of run we beleive as its on our land it will more than likely be TRH | 2024-01-22 11:48 | Groundworks | Responsive | Andy Young | 371.24 | 74.25 | 445.49
502581 | 439567 | R.J.CONTRACTING | LEAZE COURT, MOUNT PLEASANT, LYDNEY, GLOUCESTERSHIRE | GL15 5QP | 2023-11-29 15:49 | please clear flytipping next to entrance images will be emaild over | 2023-11-28 15:49 |  | Responsive | Andy Young | 190 | 38 | 228
497826 | 435758 | R.J.CONTRACTING | LEAZE COURT, MOUNT PLEASANT, LYDNEY, GLOUCESTERSHIRE | GL15 5QP | 2023-09-28 15:41 | Dayworks - Routine single bed frames, wood, carboard | 2023-09-26 09:46 |  | Responsive | Andy Young | 265 | 53 | 318
494279 | 431472 | Midlands Building & Maintenance Limited | LEAZE COURT, MOUNT PLEASANT, LYDNEY, GLOUCESTERSHIRE | GL15 5QP |  | Attend and Repair (small fencing) fencing has been damaged at the front | 2023-07-13 16:44 | Fencing | Responsive | Andy Young | 1548.85 | 309.77 | 1858.62
492754 | 431472 | Centigen FM | LEAZE COURT, MOUNT PLEASANT, LYDNEY, GLOUCESTERSHIRE | GL15 5QP | 2023-08-03 11:00 | Attend and Repair (small fencing) fencing has been damaged at the front | 2023-07-13 16:44 | Fencing | Responsive | Andy Young | 26.94 | 5.39 | 32.33
501604 | 438812 | Centigen FM | LEAZE COURT, MOUNT PLEASANT, LYDNEY, GLOUCESTERSHIRE | GL15 5QP | 2023-12-29 12:28 | Attend and repair (Electrical small) outside security light isnt working - located otuside number 1 leaze court | 2023-11-15 16:50 | Electrical | Responsive | Naomi Gilfillan | 236.18 | 47.24 | 283.42
LEAZE COURT, MOUNT PLEASANT, LYDNEY, GLOUCESTERSHIRE
502304 | 439331 | REES (ELECTRICAL) & SON | LEAZE COURT, MOUNT PLEASANT, LYDNEY, GLOUCESTERSHIRE | GL15 5QP | 2023-11-27 12:28 | Dayworks for Rees Electrical Lampost outside flats not working - I have attended leaze court to look at lamp post light not working outside flats 13 to 22 have checked everything I can a low level and is all working ok will need to get this sub out to get the lamp and pir that is on top of the light looked at | 2023-11-24 12:28 |  | Non Responsive | Naomi Gilfillan | 435.25 | 87.05 | 522.3
LEAZE COURT, MOUNT PLEASANT, LYDNEY, GLOUCESTERSHIRE
499460 | 437085 | Centigen FM | LEAZE COURT, MOUNT PLEASANT, LYDNEY, GLOUCESTERSHIRE | GL15 5QP | 2023-11-23 10:50 | Communal facilities and fittings: Communal lighting; External communal lighting; on the top tier of leaze court the lampost ; Lights not working; Lampost light; 1 | 2023-10-18 12:11 | Electrical | Responsive | Naomi Gilfillan | 29.63 | 5.93 | 35.56
3993.72
181.5327
486423 | 426451 | Centigen FM | FLATS 13 TO 22, LEAZE COURT, MOUNT PLEASANT, LYDNEY, GLOUCESTERSHIRE | GL15 5QP | 2023-04-24 15:28 | Gutter leaking gutter is leaking above wet patch Attend and repair (Plumbing small) | 2023-04-06 10:02 | Plumbing | Responsive | Naomi Gilfillan | 79.18 | 15.84 | 95.02
9.502
[12 empty] | total | 191.0347

## Manor Court
Works Order | Request | Contractor | Address | Post Code | Actual Completion | Request Description | Request Date | Sample Trade | Sample Job Type | Repairs Inspector | Actual Order Value | Actual VAT Value | total
504559 | 440991 | Centigen FM | FLATS 5 TO 8, MANOR COURT, LYDNEY, GLOUCESTERSHIRE | GL15 5BY | 2024-01-19 11:25 | Please attend property and clear out guttering to both elevations and check to see if there are any obvious areas allowing water ingress into the soffit etc, | 2023-12-21 15:48 | Roofers/chimneys | Responsive | Naomi Gilfillan | 94.82 | 18.96 | 113.78
506187 | 442500 | A & E Fire and Security | FLATS 5 TO 8, MANOR COURT, LYDNEY, GLOUCESTERSHIRE | GL15 5AL | 2023-11-20 11:47 | A&E retrospective invoice - 453657 - FRA completed 20.11.23 | 2023-11-20 11:46 |  | Planned Maintenance | Naomi Gilfillan | 135 | 27 | 162
275.78
68.945

## 33 - 34 oakfields
Works Order | Request | Contractor | Address | Post Code | Actual Start | Actual Completion | Request Description | Request Date | Sample Trade | Sample Job Type | Repairs Inspector | Actual Order Value | Actual VAT Value | total
506190 | 442503 | A & E Fire and Security | FLATS 33 TO 34, OAKFIELDS, COLEFORD, GLOUCESTERSHIRE | GL16 8EN | 2023-11-20 11:50 | 2023-11-20 11:52 | A&E retrospective invoice - 453655 - FRA completed 20.11.23 | 2023-11-20 11:50 |  | Planned Maintenance | Robert Ward | 135 | 27 | 162
502634 | 438692 | Centigen FM | FLATS 33 TO 34, OAKFIELDS, COLEFORD, GLOUCESTERSHIRE | GL16 8EN | 2023-12-14 07:55 | 2023-12-14 08:55 | Attend and repair (roofing small) White concrete canopy is leaking - few cracks to be repaired. Please report back if further works are needed | 2023-11-14 12:14 | Bricklayers | Responsive | Robert Ward | 26.94 | 5.39 | 32.33
501440 | 438692 | Centigen FM | FLATS 33 TO 34, OAKFIELDS, COLEFORD, GLOUCESTERSHIRE | GL16 8EN | 2023-11-17 10:26 | 2023-12-19 14:07 | Attend and repair (roofing small) White concrete canopy is leaking - few cracks to be repaired. Please report back if further works are needed | 2023-11-14 12:14 | Roofers/chimneys | Responsive | Robert Ward | 95.75 | 19.15 | 114.9
499619 | 437223 | Centigen FM | FLATS 33 TO 34, OAKFIELDS, COLEFORD, GLOUCESTERSHIRE | GL16 8EN | 2023-11-02 07:48 | 2023-11-02 09:07 | Brickwork at front of property letting rain water in - ALSO ATTEND 33A OAKFIELDS AS DAMAGING INTERIOR OR PROPERTY | 2023-10-19 14:43 | Bricklayers | Responsive | Robert Ward | 8.94 | 1.79 | 10.73
493983 | 432495 | Centigen FM | FLATS 33 TO 34, OAKFIELDS, COLEFORD, GLOUCESTERSHIRE | GL16 8EN | 2023-10-04 11:41 | 2023-10-04 13:57 | Communal paths are covered in moss and need to be cleared to prevent residents from falling . slipping.1 person, 1 hour @ £30.To remove mossAdditional weed spray @ £60. | 2023-08-02 11:39 | Specialist Works | Responsive | Robert Ward | 26.94 | 5.39 | 32.33
493493 | 432068 | Centigen FM | FLATS 33 TO 34, OAKFIELDS, COLEFORD, GLOUCESTERSHIRE | GL16 8EN | 2023-07-27 07:57 | 2023-07-27 08:23 | clear all gutters front and rear of all plant debris to ensure they work correctly | 2023-07-25 10:56 | Plumbing | Responsive | Robert Ward | 305.13 | 61.02 | 366.15
493409 | 432006 | Centigen FM | FLATS 33 TO 34, OAKFIELDS, COLEFORD, GLOUCESTERSHIRE | GL16 8EN | 2023-07-27 08:25 | 2023-07-27 09:01 | Attend and repair (Plumbing small) clear all gutters front and rear of all plant debris to ensure they work correctly | 2023-07-24 13:39 | Plumbing | Responsive | Robert Ward | 26.94 | 5.39 | 32.33
492969 | 427740 | Centigen FM | FLATS 33 TO 34, OAKFIELDS, COLEFORD, GLOUCESTERSHIRE | GL16 8EN | 2023-07-24 08:05 | 2023-07-24 10:09 | Axiom there is a leak on the first floor landing and we need a sectiom under 1sqm removed. The area is visable. Centigen opperative to meet Axiom on site to confirm areas.(33a Oakfields reported this issue)Centigen opp due to meet Axiom on site to discuss works @ 8am 5.7.23(JOB HAS BEEN PASSED TO TMS TO ACTION INSTEAD OF AXIOM) | 2023-05-03 08:40 | Plastering | Responsive | Robert Ward | 48.29 | 9.66 | 57.95
491403 | 427740 | Centigen FM | FLATS 33 TO 34, OAKFIELDS, COLEFORD, GLOUCESTERSHIRE | GL16 8EN | 2023-07-05 10:11 | 2023-07-18 08:25 | Axiom there is a leak on the first floor landing and we need a sectiom under 1sqm removed. The area is visable. Centigen opperative to meet Axiom on site to confirm areas.(33a Oakfields reported this issue)Centigen opp due to meet Axiom on site to discuss works @ 8am 5.7.23(JOB HAS BEEN PASSED TO TMS TO ACTION INSTEAD OF AXIOM) | 2023-05-03 08:40 | Plumbing | Responsive | Robert Ward | 26.94 | 5.39 | 32.33
488100 | 427740 | Axiom Building Solutions Ltd | FLATS 33 TO 34, OAKFIELDS, COLEFORD, GLOUCESTERSHIRE | GL16 8EN | 2023-07-05 08:40 | 2023-07-05 10:38 | Axiom there is a leak on the first floor landing and we need a sectiom under 1sqm removed. The area is visable. Centigen opperative to meet Axiom on site to confirm areas.(33a Oakfields reported this issue)Centigen opp due to meet Axiom on site to discuss works @ 8am 5.7.23(JOB HAS BEEN PASSED TO TMS TO ACTION INSTEAD OF AXIOM) | 2023-05-03 08:40 |  | Asbestos Responsive | Robert Ward | 72.8 | 14.56 | 87.36
928.41
232.1025

## 43 - 44 oakfields
Works Order | Request | Contractor | Address | Post Code | Actual Start | Actual Completion | Request Description | Request Date | Sample Trade | Sample Job Type | Repairs Inspector | Actual Order Value | Actual VAT Value | total
509359 | 444664 | Centigen FM | FLATS 43 TO 44, OAKFIELDS, COLEFORD, GLOUCESTERSHIRE | GL16 8EN | 2024-03-07 15:03 | 2024-03-07 16:26 | gutter broken as you come through front gate | 2024-02-22 13:20 | Plumbing | Responsive | Robert Ward | 130.84 | 26.17 | 157.01
507332 | 443154 | R.J.CONTRACTING | FLATS 43 TO 44, OAKFIELDS, COLEFORD, GLOUCESTERSHIRE | GL16 8EN | 2024-01-26 11:57 | 2024-02-08 11:57 | Clearance of household items and rubbish outside 44. Looks like a sofa, bin bags, plastic boxes, mattress ect | 2024-01-26 10:52 |  | Responsive | Robert Ward | 235 | 47 | 282
506183 | 442496 | A & E Fire and Security | FLATS 43 TO 44, OAKFIELDS, COLEFORD, GLOUCESTERSHIRE | GL16 8EN | 2023-11-20 11:36 | 2023-11-20 11:37 | A&E retrospective invoice - 453656 - FRA completed 20.11.23 | 2023-11-20 11:36 |  | Planned Maintenance | Robert Ward | 135 | 27 | 162
504649 | 441252 | Centigen FM | FLATS 43 TO 44, OAKFIELDS, COLEFORD, GLOUCESTERSHIRE | GL16 8EN | 2024-01-09 10:35 | 2024-01-09 11:25 | Attend and repair (Electrical small) 2 external lights not working | 2023-12-29 13:30 | Electrical | Responsive | Robert Ward | 204.98 | 41 | 245.98
490917 | 430045 | Bryers Consulting Ltd | FLATS 43 TO 44, OAKFIELDS, COLEFORD, GLOUCESTERSHIRE | GL16 8EN | 2023-06-19 12:04 | 2023-06-19 12:04 | bryers structural stability of balcont £350 | 2023-06-16 12:04 |  | Responsive | Robert Ward | 780 | 156 | 936
489023 | 428507 | Centigen FM | FLATS 43 TO 44, OAKFIELDS, COLEFORD, GLOUCESTERSHIRE | GL16 8EN | 2023-05-19 13:33 | 2023-05-19 14:17 | Inspection to attend and repair - Carpentry area under stairs to first floor to be boarded up and sealed . Work needs to be completed once the area has been cleared by RJ Contracting - see task dated 28/4/23 - RJ completed clearance on 15/5/23 | 2023-05-17 13:00 | Carpentry | Responsive | Robert Ward | 43.12 | 8.63 | 51.75
487881 | 427600 | R.J.CONTRACTING | FLATS 43 TO 44, OAKFIELDS, COLEFORD, GLOUCESTERSHIRE | GL16 8EN | 2023-04-28 12:12 | 2023-05-15 12:06 | Dayworks - Routine - Please arrange for RJ Contracting to clear all the discarde items and rubbish from under the stairs at this block. The tenants have until the 12th May to remove any item they wish to keep so please instruct that the work shouldn't take place until after the 12th of May 2023. | 2023-04-28 12:12 |  | Responsive | Robert Ward | 138 | 27.6 | 165.6
2000.34
500.085

## St Marys
Works Order | Request | Contractor | Address | Post Code | Actual Completion | Request Description | Request Date | Sample Trade | Sample Job Type | Repairs Inspector | Actual Order Value | Actual VAT Value | total
509283 | 444605 | Centigen FM | ST. MARYS SQUARE, LYDNEY, GLOUCESTERSHIRE | GL15 5AL | 2024-08-09 16:29 | LP - Please raise job for further investigation to be carried out on communal outside lights on property numbers 7 and 8. Unable to figure out how to get power to lights to get them working. Would probably benefit for DS to attend alongside electrican to work through it 2x 000001 | 2024-02-22 07:49 | Electrical | Responsive | Andy Young | 83.89 | 16.78 | 100.67
495149 | 433418 | R.J.CONTRACTING | ST. MARYS SQUARE, LYDNEY, GLOUCESTERSHIRE | GL15 5AL | 2023-09-19 17:00 | RJ Contracting - please remove dumped carpet by flats 13-18 as you enter estate carpet is in a fuschia bush next to parking area | 2023-08-21 14:26 |  | Responsive | Andy Young | 58 | 11.6 | 69.6
495027 | 433317 | Centigen FM | ST. MARYS SQUARE, LYDNEY, GLOUCESTERSHIRE | GL15 5AL | 2023-10-10 15:59 | please repaint the lines on disabled parking spaces, next to property 12. Tenant at 13 & 12 use the disabled parking | 2023-08-18 15:28 | Painting | Responsive | Andy Young | 134.69 | 26.94 | 161.63
489018 | 428502 | Hygiene Services | ST. MARYS SQUARE, LYDNEY, GLOUCESTERSHIRE | GL15 5AL | 2023-05-18 15:44 | Dayworks for Hygiene Services Centigen have fed back camera needed for further investigation - all drains to be checked ** 19/5/23 Rob confirmed all drains are clear/ manholes running - storm drain slight blockage when it rains | 2023-05-17 12:13 |  | Responsive | Andy Young | 80 | 16 | 96
488181 | 425692 | Centigen FM | ST. MARYS SQUARE, LYDNEY, GLOUCESTERSHIRE | GL15 5AL | 2023-08-09 12:48 | A meter squared area would need to be cut into the concrete and dug down around 6-7ft to investigate and remedy what is causing the soak away to drain so slowly, a new soak away system would probably need to be installed to current regulations. | 2023-03-23 12:08 | Drainage | Responsive | Andy Young | 836.34 | 167.27 | 1003.61
506181 | 442494 | A & E Fire and Security | ST. MARYS SQUARE, LYDNEY, GLOUCESTERSHIRE | GL15 5AL | 2023-11-20 11:30 | A&E retrospective invoice - 453658 - FRA completed 20.11.23 | 2023-11-20 11:28 |  | Planned Maintenance | Naomi Gilfillan | 135 | 27 | 162
1593.51
93.7359

## turley court
Works Order | Request | Contractor | Address | Post Code | Actual Completion | Request Description | Request Date | Sample Trade | Sample Job Type | Repairs Inspector | Actual Order Value | Actual VAT Value | Asset Type
498938 | 436623 | REES (ELECTRICAL) & SON | TURLEY COURT, CINDERFORD, GLOUCESTERSHIRE | GL14 2PE | 2023-11-09 14:59 | plant room (between two garages) - full service required of all external lighting along with eicr | 2023-10-11 14:18 |  | Non Responsive | Andy Young | 1838.17 | 367.63 | 2205.8
220.58

## Tuthill Rise
Works Order | Request | Contractor | Address | Post Code | Actual Completion | Order Task Description | Request Date | Sample Trade | Sample Job Type | Repairs Inspector | Actual Order Value | Actual VAT Value
489010 | 428493 | R.J.CONTRACTING | FLATS 1 TO 6, TUTHILL RISE, LYDNEY, GLOUCESTERSHIRE | GL15 5BP | 2023-05-17 11:14 | Can we arrange for fly tipping to be removed Fridge freezer, 4 recycling boxes not emptied, removal of bags of rubbish outside number 2 . | 2023-05-17 11:14 |  | Responsive | Andy Young | 225 | 45 | 270
511961 | 446420 | R.J.CONTRACTING | FLATS 1 TO 6, TUTHILL RISE, LYDNEY, GLOUCESTERSHIRE | GL15 5BP | 2024-04-02 12:47 | Bed base, mattress and large box of general rubbish had been flytipped in bin store area at Tuthill Rise. | 2024-03-27 09:17 |  | Responsive | Naomi Gilfillan | 190 | 38 | 228
511782 | 446325 | Centigen FM | FLATS 1 TO 6, TUTHILL RISE, LYDNEY, GLOUCESTERSHIRE | GL15 5BP | 2024-04-02 13:53 | 1:Attend and repair; complete works as necessary. 2:SOR to be varied upon completion to reflect actuals. 3:Call Schedulers from site to book any follow on. | 2024-03-25 13:38 | Electrical | Responsive | Naomi Gilfillan | 75.06 | 15.01 | 90.07
511223 | 445985 | Centigen FM | FLATS 1 TO 6, TUTHILL RISE, LYDNEY, GLOUCESTERSHIRE | GL15 5BP | 2024-03-21 13:44 | Emergency Lighting:Attend and carry out service to emergency lighting installation complete to block of dwellings or scheme, including provision of minor parts as necessary, test and leave in working order and remove waste and debris. | 2024-03-19 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
509284 | 444606 | Centigen FM | FLATS 1 TO 6, TUTHILL RISE, LYDNEY, GLOUCESTERSHIRE | GL15 5BP | 2024-02-26 15:24 | Emergency Lighting:Attend and carry out service to emergency lighting installation complete to block of dwellings or scheme, including provision of minor parts as necessary, test and leave in working order and remove waste and debris. | 2024-02-22 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
507484 | 443271 | Centigen FM | FLATS 1 TO 6, TUTHILL RISE, LYDNEY, GLOUCESTERSHIRE | GL15 5BP | 2024-01-29 14:05 | please investigate potential roof leak - leak potentially coming from roof into flat 3 and into communal areas | 2024-01-29 10:14 | Roofers/chimneys | Responsive | Naomi Gilfillan | 26.94 | 5.39 | 32.33
507270 | 443112 | Centigen FM | FLATS 1 TO 6, TUTHILL RISE, LYDNEY, GLOUCESTERSHIRE | GL15 5BP | 2024-01-31 15:44 | Emergency Lighting:Attend and carry out service to emergency lighting installation complete to block of dwellings or scheme, including provision of minor parts as necessary, test and leave in working order and remove waste and debris. | 2024-01-26 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
505724 | 442155 | Centigen FM | FLATS 1 TO 6, TUTHILL RISE, LYDNEY, GLOUCESTERSHIRE | GL15 5BP | 2024-01-18 15:29 | external upvc damaged allowing rat entry outide no 2 | 2024-01-12 09:39 | Carpentry | Responsive | Naomi Gilfillan | 26.94 | 5.39 | 32.33
505723 | 442154 | Centigen FM | FLATS 1 TO 6, TUTHILL RISE, LYDNEY, GLOUCESTERSHIRE | GL15 5BP | 2024-01-23 14:45 | rob has reported the manhole covers damaged causing rat entry please replace | 2024-01-12 09:38 | Drainage | Responsive | Naomi Gilfillan | 82.37 | 16.48 | 98.85
504342 | 440997 | Centigen FM | FLATS 1 TO 6, TUTHILL RISE, LYDNEY, GLOUCESTERSHIRE | GL15 5BP | 2024-01-02 08:07 | Emergency Lighting:Attend and carry out service to emergency lighting installation complete to block of dwellings or scheme, including provision of minor parts as necessary, test and leave in working order and remove waste and debris. | 2023-12-22 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
502332 | 439354 | Centigen FM | FLATS 1 TO 6, TUTHILL RISE, LYDNEY, GLOUCESTERSHIRE | GL15 5BP | 2023-11-29 15:00 | Emergency Lighting:Attend and carry out service to emergency lighting installation complete to block of dwellings or scheme, including provision of minor parts as necessary, test and leave in working order and remove waste and debris. | 2023-11-25 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
500478 | 437936 | Centigen FM | FLATS 1 TO 6, TUTHILL RISE, LYDNEY, GLOUCESTERSHIRE | GL15 5BP | 2023-11-02 13:45 | Emergency Lighting:Attend and carry out service to emergency lighting installation complete to block of dwellings or scheme, including provision of minor parts as necessary, test and leave in working order and remove waste and debris. | 2023-11-02 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
498505 | 436281 | Centigen FM | FLATS 1 TO 6, TUTHILL RISE, LYDNEY, GLOUCESTERSHIRE | GL15 5BP | 2023-10-09 08:47 | Emergency Lighting:Attend and carry out service to emergency lighting installation complete to block of dwellings or scheme, including provision of minor parts as necessary, test and leave in working order and remove waste and debris. | 2023-10-05 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
496238 | 434333 | Centigen FM | FLATS 1 TO 6, TUTHILL RISE, LYDNEY, GLOUCESTERSHIRE | GL15 5BP | 2023-09-12 15:45 | Emergency Lighting:Attend and carry out service to emergency lighting installation complete to block of dwellings or scheme, including provision of minor parts as necessary, test and leave in working order and remove waste and debris. | 2023-09-09 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
494528 | 432907 | Centigen FM | FLATS 1 TO 6, TUTHILL RISE, LYDNEY, GLOUCESTERSHIRE | GL15 5BP | 2023-08-16 15:14 | Emergency Lighting:Attend and carry out service to emergency lighting installation complete to block of dwellings or scheme, including provision of minor parts as necessary, test and leave in working order and remove waste and debris. | 2023-08-11 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
492843 | 431533 | Centigen FM | FLATS 1 TO 6, TUTHILL RISE, LYDNEY, GLOUCESTERSHIRE | GL15 5BP | 2023-07-18 13:00 | Emergency Lighting:Attend and carry out service to emergency lighting installation complete to block of dwellings or scheme, including provision of minor parts as necessary, test and leave in working order and remove waste and debris. | 2023-07-15 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
490950 | 430080 | Centigen FM | FLATS 1 TO 6, TUTHILL RISE, LYDNEY, GLOUCESTERSHIRE | GL15 5BP | 2023-06-22 09:01 | Emergency Lighting:Attend and carry out service to emergency lighting installation complete to block of dwellings or scheme, including provision of minor parts as necessary, test and leave in working order and remove waste and debris. | 2023-06-17 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
489251 | 428684 | Centigen FM | FLATS 1 TO 6, TUTHILL RISE, LYDNEY, GLOUCESTERSHIRE | GL15 5BP | 2023-05-24 14:54 | Emergency Lighting:Attend and carry out service to emergency lighting installation complete to block of dwellings or scheme, including provision of minor parts as necessary, test and leave in working order and remove waste and debris. | 2023-05-21 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
487718 | 427479 | Centigen FM | FLATS 1 TO 6, TUTHILL RISE, LYDNEY, GLOUCESTERSHIRE | GL15 5BP | 2023-04-28 09:21 | Emergency Lighting:Attend and carry out service to emergency lighting installation complete to block of dwellings or scheme, including provision of minor parts as necessary, test and leave in working order and remove waste and debris. | 2023-04-27 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
486277 | 426083 | Centigen FM | FLATS 1 TO 6, TUTHILL RISE, LYDNEY, GLOUCESTERSHIRE | GL15 5BP | 2023-04-20 09:02 | Emergency Lighting:Renew or supply and install self contained non-maintained 3hr duration completion with glass diffuser, plugged and screwed to structure, including making all connections to existing wiring, test and make good on completion and remove waste and debris. | 2023-03-30 | Electrical | Responsive | Naomi Gilfillan | 113.25 | 22.65 | 135.9
1336.63
222.7717

## wyndcliffe house
Works Order | Request | Contractor | Address | Post Code | Actual Start | Actual Completion | Request Description | Request Date | Sample Trade | Sample Job Type | Repairs Inspector | Actual Order Value | Actual VAT Value
511341 | 446066 | Centigen FM | WYNDCLIFFE HOUSE, BUTTINGTON ROAD, SEDBURY, CHEPSTOW, GWENT | NP16 7AN | 2024-03-22 12:46 | 2024-03-22 13:03 | Chepstow - Monthly alarm test | 2024-03-20 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
508922 | 444375 | Centigen FM | WYNDCLIFFE HOUSE, BUTTINGTON ROAD, SEDBURY, CHEPSTOW, GWENT | NP16 7AN | 2024-02-27 15:12 | 2024-02-27 15:34 | Chepstow - Monthly alarm test | 2024-02-19 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
506438 | 442665 | Centigen FM | WYNDCLIFFE HOUSE, BUTTINGTON ROAD, SEDBURY, CHEPSTOW, GWENT | NP16 7AN | 2024-01-26 13:34 | 2024-01-26 13:51 | Chepstow - Monthly alarm test | 2024-01-22 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
504281 | 440944 | Centigen FM | WYNDCLIFFE HOUSE, BUTTINGTON ROAD, SEDBURY, CHEPSTOW, GWENT | NP16 7AN | 2024-02-02 07:46 | 2024-02-21 14:04 | Attend and repair (Carpentry small) As per Leanne - the doors on this property are not secure, please can they be inspected and the building made safe and secure, any changes to locks or mechanisims the tenants will need to be made aware of and issued with keys | 2023-12-21 09:42 | Carpentry | Responsive | Naomi Gilfillan | 111.43 | 22.29 | 133.72
503922 | 440681 | Centigen FM | WYNDCLIFFE HOUSE, BUTTINGTON ROAD, SEDBURY, CHEPSTOW, GWENT | NP16 7AN | 2023-12-29 13:50 | 2023-12-29 13:50 | Chepstow - Monthly alarm test | 2023-12-16 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
501704 | 438894 | Centigen FM | WYNDCLIFFE HOUSE, BUTTINGTON ROAD, SEDBURY, CHEPSTOW, GWENT | NP16 7AN | 2023-11-23 09:47 | 2023-11-23 09:55 | Chepstow - Monthly alarm test | 2023-11-17 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
499112 | 436773 | Centigen FM | WYNDCLIFFE HOUSE, BUTTINGTON ROAD, SEDBURY, CHEPSTOW, GWENT | NP16 7AN | 2023-10-24 10:57 | 2023-10-24 11:19 | Chepstow - Monthly alarm test | 2023-10-15 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
497200 | 435228 | Centigen FM | WYNDCLIFFE HOUSE, BUTTINGTON ROAD, SEDBURY, CHEPSTOW, GWENT | NP16 7AN | 2023-09-18 | 2023-09-22 15:24 | Chepstow - Monthly alarm test | 2023-09-18 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
495322 | 433557 | Centigen FM | WYNDCLIFFE HOUSE, BUTTINGTON ROAD, SEDBURY, CHEPSTOW, GWENT | NP16 7AN | 2023-08-25 15:15 | 2023-08-25 15:35 | Chepstow - Monthly alarm test | 2023-08-24 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
495262 | 433510 | Centigen FM | WYNDCLIFFE HOUSE, BUTTINGTON ROAD, SEDBURY, CHEPSTOW, GWENT | NP16 7AN | 2023-08-25 13:07 | 2023-08-25 13:34 | Communal lighting not working Attend and repair (Electrical small) | 2023-08-23 09:36 | Electrical | Responsive | Naomi Gilfillan | 11.65 | 2.33 | 13.98
493615 | 432160 | Centigen FM | WYNDCLIFFE HOUSE, BUTTINGTON ROAD, SEDBURY, CHEPSTOW, GWENT | NP16 7AN | 2023-07-31 16:21 | 2023-07-31 16:27 | Chepstow - Monthly alarm test | 2023-07-27 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
491762 | 430702 | Centigen FM | WYNDCLIFFE HOUSE, BUTTINGTON ROAD, SEDBURY, CHEPSTOW, GWENT | NP16 7AN | 2023-07-03 12:00 | 2023-07-03 12:20 | Chepstow - Monthly alarm test | 2023-06-29 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
490085 | 429328 | Centigen FM | WYNDCLIFFE HOUSE, BUTTINGTON ROAD, SEDBURY, CHEPSTOW, GWENT | NP16 7AN | 2023-06-06 10:56 | 2023-06-06 11:16 | Chepstow - Monthly alarm test | 2023-06-05 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
488564 | 428124 | Centigen FM | WYNDCLIFFE HOUSE, BUTTINGTON ROAD, SEDBURY, CHEPSTOW, GWENT | NP16 7AN | 2023-05-12 13:43 | 2023-05-12 13:55 | Chepstow - Monthly alarm test | 2023-05-11 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
486854 | 426802 | Centigen FM | WYNDCLIFFE HOUSE, BUTTINGTON ROAD, SEDBURY, CHEPSTOW, GWENT | NP16 7AN | 2023-04-18 13:44 | 2023-04-18 13:49 | Chepstow - Monthly alarm test | 2023-04-14 | Electrical | Compliance | Naomi Gilfillan | 28.79 | 5.76 | 34.55
596.85
99.475

## 1 - 7 wynols close
Works Order | Request | Contractor | Address | Post Code | Actual Completion | Request Description | Request Date | Sample Trade | Sample Job Type | Repairs Inspector | Actual Order Value | Actual VAT Value
510003 | 445142 | Centigen FM | FLATS 1 TO 7, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | 2024-03-06 13:20 | Coleford - Monthly alarm test | 2024-03-01 | Electrical | Compliance | Robert Ward | 28.79 | 5.76 | 34.55
508691 | 444190 | Centigen FM | FLATS 1 TO 7, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | 2024-02-21 09:13 | tenant has called stating multiple residents in the building have seen and heard rats, many tenants affected,area needs to be inspected and sealed Dayworks - Routine | 2024-02-14 11:34 | Roofers/chimneys | Responsive | Robert Ward | 26.94 | 5.39 | 32.33
507968 | 443638 | Centigen FM | FLATS 1 TO 7, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | 2024-02-08 11:08 | Coleford - Monthly alarm test | 2024-02-03 | Electrical | Compliance | Robert Ward | 28.79 | 5.76 | 34.55
505160 | 441695 | Centigen FM | FLATS 1 TO 7, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | 2024-01-10 13:40 | Coleford - Monthly alarm test | 2024-01-06 | Electrical | Compliance | Robert Ward | 28.79 | 5.76 | 34.55
503301 | 440199 | Centigen FM | FLATS 1 TO 7, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | 2023-12-13 11:54 | Coleford - Monthly alarm test | 2023-12-08 | Electrical | Compliance | Robert Ward | 28.79 | 5.76 | 34.55
502913 | 439871 | Centigen FM | FLATS 1 TO 7, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | 2023-12-04 15:40 | Attend and repair (Carpentry small) handle has been ripped off the inside of block 1-7, no other exit - forced entry required no other doors to get out of the block | 2023-12-04 11:14 | Carpentry | Responsive | Robert Ward | 45.38 | 9.08 | 54.46
501144 | 438452 | Centigen FM | FLATS 1 TO 7, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | 2023-11-15 11:42 | Coleford - Monthly alarm test | 2023-11-10 | Electrical | Compliance | Robert Ward | 28.79 | 5.76 | 34.55
499138 | 436799 | Centigen FM | FLATS 1 TO 7, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | 2023-10-17 13:58 | Coleford - Monthly alarm test | 2023-10-15 | Electrical | Compliance | Robert Ward | 28.79 | 5.76 | 34.55
497123 | 435158 | Centigen FM | FLATS 1 TO 7, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | 2023-09-22 15:19 | Coleford - Monthly alarm test | 2023-09-15 | Electrical | Compliance | Robert Ward | 28.79 | 5.76 | 34.55
494963 | 433267 | Centigen FM | FLATS 1 TO 7, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | 2023-08-22 13:37 | Coleford - Monthly alarm test | 2023-08-18 | Electrical | Compliance | Robert Ward | 28.79 | 5.76 | 34.55
493319 | 431943 | Centigen FM | FLATS 1 TO 7, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | 2023-07-25 11:31 | Coleford - Monthly alarm test | 2023-07-22 | Electrical | Compliance | Robert Ward | 28.79 | 5.76 | 34.55
491789 | 430729 | Centigen FM | FLATS 1 TO 7, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | 2023-06-29 15:43 | Coleford - Monthly alarm test | 2023-06-29 | Electrical | Compliance | Robert Ward | 28.79 | 5.76 | 34.55
490107 | 429350 | Centigen FM | FLATS 1 TO 7, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | 2023-06-06 10:16 | Coleford - Monthly alarm test | 2023-06-04 | Electrical | Compliance | Robert Ward | 28.79 | 5.76 | 34.55
488280 | 427898 | Centigen FM | FLATS 1 TO 7, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | 2023-05-11 10:40 | Coleford - Monthly alarm test | 2023-05-05 | Electrical | Compliance | Robert Ward | 28.79 | 5.76 | 34.55
486406 | 426431 | Centigen FM | FLATS 1 TO 7, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | 2023-04-12 13:35 | Coleford - Monthly alarm test | 2023-04-06 | Electrical | Compliance | Robert Ward | 28.79 | 5.76 | 34.55
486355 | 426400 | Centigen FM | FLATS 1 TO 7, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | 2023-04-27 12:20 | Provide large D handles to both communal doors to aid with the shutting of the doors. Handles should be provided on external and interal faces of the doors - 4 handles in total . Attend and repair (Carpentry small) | 2023-04-05 11:16 | Carpentry | Responsive | Robert Ward | 73.96 | 14.79 | 88.75
486353 | 426398 | Centigen FM | FLATS 1 TO 7, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | 2023-04-27 12:20 | please resecure door latch to communal door - RHS side door when looking from road - external face Attend and repair (Carpentry small) | 2023-04-05 11:11 | Carpentry | Responsive | Robert Ward | 26.94 | 5.39 | 32.33
657.02
Note on N19: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Unabl;e to recharge due to defective lease