## How to use this spreadsheet
Scroll along the bottom tabs to find the block you are interested in
Click on relevant tab which will bring up the block
scroll along page to see details of repairs. The collumn in green is the cost
use your mouse to scroll up and down the page, or the slider to move across collumns

## 19_25 albert st
Request | Raised By | Asset Reference | Address | Post Code | Special Instructions | Task Priority | SOR Code | SOR Trade | Attribute | Task Description | Unit Of Measure | Completion Date | Contract Value | Contractor Name | Works Order | Order Line VAT | Estimated Cost
376251 | helen.norris | 7755 | FLATS 19 TO 25, ALBERT STREET, LYDNEY, GLOUCESTERSHIRE | GL15 5LU | 2 man job 1xar000001 3x303013 asbestos soffit board fallen and needs removing ASAPSoffit board needs replacing 2 man job 2 story | R - Routine | CA303013 | Carpentry |  | Soffit:Renew soffit board with PVCu board ne 450mm wide including remove existing; renew noggins as necessary and fix new board to roof timbers and refix cables. | Linear Metre | 2020-09-16 14:25 | 77.27 | PropertyPlus | 425749 | 15.45 | 58.68 | 74.13
376251 | helen.norris | 7755 | FLATS 19 TO 25, ALBERT STREET, LYDNEY, GLOUCESTERSHIRE | GL15 5LU | To undertake the safe removal of an asbestos containing cement panel which is located at the property.There is 1-5 panels to be removed which is currently in poor condition. The works will be conducted as stipulated in NLAR 10 Plan of Works, any changes to the Plan of Works must in the first instance be discussed with the Safety, Health and Environmental Manager and Client for approval | Asbestos - Routine | AR000009 | Asbestos |  | Remove and dispose of asbestos cement sheet 1-5 no sheets | Occasion | 2020-09-16 14:25 | 340 | Asbestos Removal Team | 426209 | 68 | 340 | 408

## 13 - 16 Ayland Close
Request | Reported Date | Raised By | Asset Reference | Address | Post Code | Special Instructions | Task Priority | SOR Code | SOR Trade | Attribute | Task Description | Unit Of Measure | Completion Date | Contract Value | Contractor Name | Works Order | Order Line VAT | Estimated Cost |  | Estimated Completion Date | Contract Description | Asset Type
385385 | 2021-03-15 14:29 | jimi.john | 7788 | FLATS 13 TO 16, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | A cable between block 16 and 18 has dropped from the gutteing to 6 ft above ground level; | R - Routine | RO000001 | Roofers/chimneys |  | Attend and Repair if Possible - A cable between block 16 and 18 has dropped from the gutteing to 6 ft above ground level; No one available to take call; 07515284332 | Occasion | 2021-03-18 08:58 | 28.67 | PropertyPlus | 436730 | 5.73 | 21.77 | 27.5 | 2021-04-12 17:00 | PropertyPlus 2013 - 2018 | BLOCK
385385 | 2021-03-15 14:29 | jimi.john | 7788 | FLATS 13 TO 16, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | Wire sagging between 15 & 17 ayland close - tension hooks & wire needed to get it taught with building. Not 100% what the wire is supplying. 2 man, ladder job. | R - Routine | EL000001 | Electrical |  | ELECTRICAL DAY WORKS | Number Of | 2021-03-25 11:17 | 40.85 | PropertyPlus - Electrical | 437061 | 8.17 | 38.9 | 47.07 | 2021-04-12 17:00 | PropertyPlus - Electrical | BLOCK
[18 empty] | Total | 74.57

## 21 - 32 Ayland Close
Request | Reported Date | Raised By | Asset Reference | Address | Post Code | Special Instructions | Task Priority | SOR Code | SOR Trade | Attribute | Task Description | Unit Of Measure | Completion Date | Contract Value | Contractor Name | Works Order | Order Line VAT | Estimated Cost | cost | Estimated Completion Date | Contract Description | Asset Type
369113 | 2020-04-03 | chris.watkins | 7790 | FLATS 21 TO 32, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | Newent - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-04-07 09:27 | 18 | PropertyPlus - Electrical | 417349 | 3.6 | 17.14 | 20.74 | 2020-04-10 23:59 | PropertyPlus - Electrical | BLOCK
369874 | 2020-04-30 | chris.watkins | 7790 | FLATS 21 TO 32, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | Newent - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-05-04 09:40 | 18 | PropertyPlus - Electrical | 418179 | 3.6 | 17.14 | 20.74 | 2020-05-07 17:00 | PropertyPlus - Electrical | BLOCK
370812 | 2020-05-28 | chris.watkins | 7790 | FLATS 21 TO 32, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | Newent - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-06-02 10:22 | 18 | PropertyPlus - Electrical | 419226 | 3.6 | 17.14 | 20.74 | 2020-06-04 17:00 | PropertyPlus - Electrical | BLOCK
372207 | 2020-06-25 | chris.watkins | 7790 | FLATS 21 TO 32, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | Newent - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-07-01 11:21 | 18 | PropertyPlus - Electrical | 420977 | 3.6 | 17.14 | 20.74 | 2020-07-02 17:00 | PropertyPlus - Electrical | BLOCK
373569 | 2020-07-25 | chris.watkins | 7790 | FLATS 21 TO 32, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | Newent - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-08-05 09:45 | 18 | PropertyPlus - Electrical | 422608 | 3.6 | 17.14 | 20.74 | 2020-08-01 23:59 | PropertyPlus - Electrical | BLOCK
375288 | 2020-08-26 16:36 | rachael.brooke | 7790 | FLATS 21 TO 32, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | overflow from cold water tank is running unable to identify which flat is affected, loft hatch for cold water tanks on the communal landing for flatsWater leaks: Overflow; phone call received; Tenant; water tank: | U - Urgent | PL665005 | Plumbing |  | Tank:Renew 15mm ballvalve to cold water storage tank and transfer or renew float as necessary. | Number Of | 2020-09-02 12:50 | 19 | PropertyPlus | 424657 | 3.8 | 14.43 | 18.23 | 2020-09-03 17:00 | PropertyPlus 2013 - 2018 | BLOCK
375468 | 2020-08-29 | chris.watkins | 7790 | FLATS 21 TO 32, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | Newent - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-09-07 09:43 | 18 | PropertyPlus - Electrical | 424887 | 3.6 | 17.14 | 20.74 | 2020-09-05 23:59 | PropertyPlus - Electrical | BLOCK
377354 | 2020-09-30 | chris.watkins | 7790 | FLATS 21 TO 32, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | Newent - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-10-14 15:18 | 18 | PropertyPlus - Electrical | 427120 | 3.6 | 17.14 | 20.74 | 2020-10-07 17:00 | PropertyPlus - Electrical | BLOCK
379306 | 2020-11-07 | chris.watkins | 7790 | FLATS 21 TO 32, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | Newent - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-11-12 08:19 | 18 | PropertyPlus - Electrical | 429724 | 3.6 | 17.14 | 20.74 | 2020-11-14 23:59 | PropertyPlus - Electrical | BLOCK
380531 | 2020-12-05 | chris.watkins | 7790 | FLATS 21 TO 32, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | Newent - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-12-18 08:27 | 18 | PropertyPlus - Electrical | 431200 | 3.6 | 17.14 | 20.74 | 2020-12-12 23:59 | PropertyPlus - Electrical | BLOCK
382157 | 2021-01-11 | chris.watkins | 7790 | FLATS 21 TO 32, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | Newent - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2021-01-13 09:40 | 18 | PropertyPlus - Electrical | 433050 | 3.6 | 17.14 | 20.74 | 2021-01-18 17:00 | PropertyPlus - Electrical | BLOCK
383536 | 2021-02-06 | chris.watkins | 7790 | FLATS 21 TO 32, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | Newent - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2021-02-11 12:17 | 18 | PropertyPlus - Electrical | 434643 | 3.6 | 17.14 | 20.74 | 2021-02-13 23:59 | PropertyPlus - Electrical | BLOCK
374799 | 2020-08-19 12:22 | molly.osborne | 3901 | AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | Water leaks: Overflow; phone call received; Tenant; water tank: | R - Routine | PL665005 | Plumbing |  | Tank:Renew 15mm ballvalve to cold water storage tank and transfer or renew float as necessary. | Number Of | 2020-09-07 15:45 | 19 | PropertyPlus | 424095 | 3.8 | 14.43 | 18.23
384862 | 2021-03-04 | chris.watkins | 7790 | FLATS 21 TO 32, AYLAND CLOSE, NEWENT, GLOUCESTERSHIRE | GL18 1TB | Newent - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2021-03-09 10:27 | 18 | PropertyPlus - Electrical | 436122 | 3.6 | 17.14 | 20.74 | 2021-03-11 17:00 | PropertyPlus - Electrical | BLOCK
[18 empty] | total | 285.34

## 30_32 Harrison way
Request | Reported Date | Asset Reference | Address | Post Code | Special Instructions | Task Priority | SOR Code | SOR Trade | Attribute | Task Description | Unit Of Measure | Completion Date | Contract Value | Contractor Name | Works Order | Order Line VAT | Estimated Cost
369104 | 2020-04-03 | 7759 | FLATS & SHOPS 30 TO 32, HARRISON WAY, LYDNEY, GLOUCESTERSHIRE | GL15 5BN | Lydney - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-04-07 09:06 | 18 | PropertyPlus - Electrical | 417340 | 3.6 | 17.14 | 20.74
369863 | 2020-04-30 | 7759 | FLATS & SHOPS 30 TO 32, HARRISON WAY, LYDNEY, GLOUCESTERSHIRE | GL15 5BN | Lydney - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-05-04 15:18 | 18 | PropertyPlus - Electrical | 418168 | 3.6 | 17.14 | 20.74
370811 | 2020-05-28 | 7759 | FLATS & SHOPS 30 TO 32, HARRISON WAY, LYDNEY, GLOUCESTERSHIRE | GL15 5BN | Lydney - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-06-01 14:54 | 18 | PropertyPlus - Electrical | 419225 | 3.6 | 17.14 | 20.74
372148 | 2020-06-24 | 7759 | FLATS & SHOPS 30 TO 32, HARRISON WAY, LYDNEY, GLOUCESTERSHIRE | GL15 5BN | Lydney - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-06-30 10:08 | 18 | PropertyPlus - Electrical | 420909 | 3.6 | 17.14 | 20.74
373461 | 2020-07-23 | 7759 | FLATS & SHOPS 30 TO 32, HARRISON WAY, LYDNEY, GLOUCESTERSHIRE | GL15 5BN | Lydney - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-07-28 11:07 | 18 | PropertyPlus - Electrical | 422479 | 3.6 | 17.14 | 20.74
373695 | 2020-07-28 11:31 | 7759 | FLATS & SHOPS 30 TO 32, HARRISON WAY, LYDNEY, GLOUCESTERSHIRE | GL15 5BN |  | U - Urgent | EL872020 | Electrical |  | Smoke Detector:Renew existing with mains operated optical smoke detector remake connections; junction box; test and make good on completion. | Number Of | 2020-07-29 14:19 | 173.04 | PropertyPlus - Electrical | 422750 | 34.61 | 164.8 | 199.41
374908 | 2020-08-21 | 7759 | FLATS & SHOPS 30 TO 32, HARRISON WAY, LYDNEY, GLOUCESTERSHIRE | GL15 5BN | Lydney - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-09-01 08:14 | 18 | PropertyPlus - Electrical | 424232 | 3.6 | 17.14 | 20.74
377013 | 2020-09-24 | 7759 | FLATS & SHOPS 30 TO 32, HARRISON WAY, LYDNEY, GLOUCESTERSHIRE | GL15 5BN | Lydney - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-10-16 08:40 | 18 | PropertyPlus - Electrical | 426709 | 3.6 | 17.14 | 20.74
379295 | 2020-11-09 | 7759 | FLATS & SHOPS 30 TO 32, HARRISON WAY, LYDNEY, GLOUCESTERSHIRE | GL15 5BN | Lydney - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-11-13 10:22 | 18 | PropertyPlus - Electrical | 429713 | 3.6 | 17.14 | 20.74
380520 | 2020-12-06 | 7759 | FLATS & SHOPS 30 TO 32, HARRISON WAY, LYDNEY, GLOUCESTERSHIRE | GL15 5BN | Lydney - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-12-22 17:08 | 18 | PropertyPlus - Electrical | 431189 | 3.6 | 17.14 | 20.74
382518 | 2021-01-15 | 7759 | FLATS & SHOPS 30 TO 32, HARRISON WAY, LYDNEY, GLOUCESTERSHIRE | GL15 5BN | Lydney - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2021-01-19 10:43 | 18 | PropertyPlus - Electrical | 433454 | 3.6 | 17.14 | 20.74
383860 | 2021-02-12 | 7759 | FLATS & SHOPS 30 TO 32, HARRISON WAY, LYDNEY, GLOUCESTERSHIRE | GL15 5BN | Lydney - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2021-02-18 16:12 | 18 | PropertyPlus - Electrical | 435000 | 3.6 | 17.14 | 20.74
385178 | 2021-03-11 | 7759 | FLATS & SHOPS 30 TO 32, HARRISON WAY, LYDNEY, GLOUCESTERSHIRE | GL15 5BN | Lydney - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2021-03-16 11:56 | 18 | PropertyPlus - Electrical | 436481 | 3.6 | 17.14 | 20.74
[17 empty] | total | 448.29

## jubilee place
Request | Reported Date | Raised By | Asset Reference | Address | Post Code | Special Instructions | Task Priority | SOR Code | SOR Trade | Attribute | Task Description | Unit Of Measure | Completion Date | Contract Value | Contractor Name | Works Order | Order Line VAT | Estimated Cost | cost | Estimated Completion Date | Contract Description | Asset Type
369116 | 2020-04-03 | chris.watkins | 7802 | FLATS 25 TO 32, JUBILEE PLACE, STAUNTON, GLOUCESTER, GLOUCESTERSHIRE | GL19 3RS | Gloucester - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-04-07 11:06 | 18 | PropertyPlus - Electrical | 417352 | 3.6 | 17.14 | 20.74 | 2020-04-10 23:59 | PropertyPlus - Electrical | BLOCK
369901 | 2020-04-30 | chris.watkins | 7802 | FLATS 25 TO 32, JUBILEE PLACE, STAUNTON, GLOUCESTER, GLOUCESTERSHIRE | GL19 3RS | Gloucester - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-05-06 13:17 | 18 | PropertyPlus - Electrical | 418206 | 3.6 | 17.14 | 20.74 | 2020-05-07 17:00 | PropertyPlus - Electrical | BLOCK
370966 | 2020-05-30 | chris.watkins | 7802 | FLATS 25 TO 32, JUBILEE PLACE, STAUNTON, GLOUCESTER, GLOUCESTERSHIRE | GL19 3RS | Gloucester - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-06-05 15:45 | 18 | PropertyPlus - Electrical | 419391 | 3.6 | 17.14 | 20.74 | 2020-06-06 23:59 | PropertyPlus - Electrical | BLOCK
371001 | 2020-06-01 11:24 | rachael.brooke | 7802 | FLATS 25 TO 32, JUBILEE PLACE, STAUNTON, GLOUCESTER, GLOUCESTERSHIRE | GL19 3RS | door closures need adjusting in communal hallway making a loud noise when closed Locks and Fittings: Door closer; phone call received; Tenant; Door closer - loose or stiff; communal entrance door; door closures need adjusting in communal hallway making a loud noise when closed ; overhead: | R - Routine | CA390507 | Carpentry |  | Closer:Ease and adjust any type door closer. | Number Of | 2020-06-29 13:30 | 5.86 | PropertyPlus | 419427 | 1.17 | 4.45 | 5.62 | 2020-06-29 17:00 | PropertyPlus 2013 - 2018 | BLOCK
372342 | 2020-06-28 | chris.watkins | 7802 | FLATS 25 TO 32, JUBILEE PLACE, STAUNTON, GLOUCESTER, GLOUCESTERSHIRE | GL19 3RS | Gloucester - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-07-08 13:35 | 18 | PropertyPlus - Electrical | 421125 | 3.6 | 17.14 | 20.74 | 2020-07-05 23:59 | PropertyPlus - Electrical | BLOCK
373883 | 2020-08-01 | chris.watkins | 7802 | FLATS 25 TO 32, JUBILEE PLACE, STAUNTON, GLOUCESTER, GLOUCESTERSHIRE | GL19 3RS | Gloucester - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-08-10 13:16 | 18 | PropertyPlus - Electrical | 422982 | 3.6 | 17.14 | 20.74 | 2020-08-08 23:59 | PropertyPlus - Electrical | BLOCK
374244 | 2020-08-10 13:43 | victoria.broady | 7802 | FLATS 25 TO 32, JUBILEE PLACE, STAUNTON, GLOUCESTER, GLOUCESTERSHIRE | GL19 3RS |  | R - Routine | EL881001 | Electrical |  | Emergency Lighting:Renew or supply and install self contained non-maintained 3hr duration completion with glass diffuser; fixed to structure; all connections; test; make good. | Number Of | 2020-08-11 10:48 | 80.86 | PropertyPlus - Electrical | 423444 | 16.17 | 77.01 | 93.18 | 2020-09-08 17:00 | PropertyPlus - Electrical | BLOCK
376098 | 2020-09-03 | chris.watkins | 7802 | FLATS 25 TO 32, JUBILEE PLACE, STAUNTON, GLOUCESTER, GLOUCESTERSHIRE | GL19 3RS | Gloucester - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-09-07 08:28 | 18 | PropertyPlus - Electrical | 425546 | 3.6 | 17.14 | 20.74 | 2020-09-10 17:00 | PropertyPlus - Electrical | BLOCK
377360 | 2020-09-30 | chris.watkins | 7802 | FLATS 25 TO 32, JUBILEE PLACE, STAUNTON, GLOUCESTER, GLOUCESTERSHIRE | GL19 3RS | Gloucester - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-10-15 08:20 | 18 | PropertyPlus - Electrical | 427126 | 3.6 | 17.14 | 20.74 | 2020-10-07 17:00 | PropertyPlus - Electrical | BLOCK
379332 | 2020-11-08 | chris.watkins | 7802 | FLATS 25 TO 32, JUBILEE PLACE, STAUNTON, GLOUCESTER, GLOUCESTERSHIRE | GL19 3RS | Gloucester - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-11-12 14:10 | 18 | PropertyPlus - Electrical | 429750 | 3.6 | 17.14 | 20.74 | 2020-11-15 23:59 | PropertyPlus - Electrical | BLOCK
379332 | 2020-11-08 | chris.watkins | 7802 | FLATS 25 TO 32, JUBILEE PLACE, STAUNTON, GLOUCESTER, GLOUCESTERSHIRE | GL19 3RS | new emergency light fitting needed bulkhead type as battery not holding charge only staying on for a few seconds. top floor block 25/28 | R - Routine | EL898123 | Electrical |  | Emergency Lighting:Locate fault in any emergency lighting installation to domestic accommodation; testing; undertake minor renewals or repairs to remedy fault and report to CA. | Item | 2020-11-17 16:27 | 67.06 | PropertyPlus - Electrical | 430106 | 13.41 | 63.87 | 77.28 | 2020-12-07 17:00 | PropertyPlus - Electrical | BLOCK
380814 | 2020-12-10 | chris.watkins | 7802 | FLATS 25 TO 32, JUBILEE PLACE, STAUNTON, GLOUCESTER, GLOUCESTERSHIRE | GL19 3RS | Gloucester - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-12-17 10:53 | 18 | PropertyPlus - Electrical | 431537 | 3.6 | 17.14 | 20.74 | 2020-12-17 17:00 | PropertyPlus - Electrical | BLOCK
382183 | 2021-01-10 | chris.watkins | 7802 | FLATS 25 TO 32, JUBILEE PLACE, STAUNTON, GLOUCESTER, GLOUCESTERSHIRE | GL19 3RS | Gloucester - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2021-01-12 13:06 | 18 | PropertyPlus - Electrical | 433076 | 3.6 | 17.14 | 20.74 | 2021-01-17 23:59 | PropertyPlus - Electrical | BLOCK
383449 | 2021-02-05 | chris.watkins | 7802 | FLATS 25 TO 32, JUBILEE PLACE, STAUNTON, GLOUCESTER, GLOUCESTERSHIRE | GL19 3RS | Gloucester - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2021-02-11 09:42 | 18 | PropertyPlus - Electrical | 434548 | 3.6 | 17.14 | 20.74 | 2021-02-12 17:00 | PropertyPlus - Electrical | BLOCK
384886 | 2021-03-04 | chris.watkins | 7802 | FLATS 25 TO 32, JUBILEE PLACE, STAUNTON, GLOUCESTER, GLOUCESTERSHIRE | GL19 3RS | Gloucester - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2021-03-10 13:10 | 18 | PropertyPlus - Electrical | 436146 | 3.6 | 17.14 | 20.74 | 2021-03-11 17:00 | PropertyPlus - Electrical | BLOCK
[18 empty] | total | 424.96

## Manor Court
Request | Reported Date | Asset Reference | Address | Post Code | Special Instructions | Task Priority | SOR Code | SOR Trade | Attribute | Task Description | Unit Of Measure | Completion Date | Contract Value | Contractor Name | Works Order | Order Line VAT | Estimated Cost
384424 | 2021-02-23 10:03 | 7764 | FLATS 1 TO 4, MANOR COURT, LYDNEY, GLOUCESTERSHIRE | GL15 5BY | As per Matt S - Holes in felt on vally at front elevation to flats, have made safe. Please report back any further works. | R - Routine | RO000001 | Roofers/chimneys |  | Attend and Repair if Possible | Occasion | 2021-02-26 09:06 | 28.67 | PropertyPlus | 435640 | 5.73 | 21.77 | 27.5
384424 | 2021-02-23 10:03 | 7764 | FLATS 1 TO 4, MANOR COURT, LYDNEY, GLOUCESTERSHIRE | GL15 5BY | LD - please renew valley including felt and battern on front elevation, please can we send out an operative to fill out a scaffold request form 231023 x 4 201305 x 8201715 x 3 | R - Routine | RO231023 | Roofers/chimneys |  | Valley:Renew lead valley gutter ne 800mm girth; complete with valley boards and tilting fillets; remove and refix roof tiles or slates as required; including all labours. | Linear Metre | 2021-03-19 17:00 | 437.07 | PropertyPlus | 435640 | 87.41 | 331.92 | 419.33
384424 | 2021-02-23 10:03 | 7764 | FLATS 1 TO 4, MANOR COURT, LYDNEY, GLOUCESTERSHIRE | GL15 5BY | LD - please renew valley including felt and battern on front elevation, please can we send out an operative to fill out a scaffold request form 231023 x 4 201305 x 8201715 x 3 | R - Routine | RO201715 | Roofers/chimneys |  | Ridge:Remove and refix any loose ridge or hip tiles edge bedded onto roof tiles and with solid bedding at butt joints in coloured mortar (1:3) and mechanically fixed where necessary. | Linear Metre | 2021-03-19 17:00 | 106.31 | PropertyPlus | 435640 | 21.26 | 80.73 | 101.99
384424 | 2021-02-23 10:03 | 7764 | FLATS 1 TO 4, MANOR COURT, LYDNEY, GLOUCESTERSHIRE | GL15 5BY | 1st inspt - renew valley. holes in felt. Knock on No3 to advise you'll be going up on roof - issues with us not telling them whats going on. | Inspection | IN000009 | Inspection |  | Inspect Scaffold | Occasion | 2021-03-17 16:28 | 14.34 | PropertyPlus | 436837 | 2.87 | 10.89 | 13.76
384424 | 2021-02-23 10:03 | 7764 | FLATS 1 TO 4, MANOR COURT, LYDNEY, GLOUCESTERSHIRE | GL15 5BY | Job completed - requested down - Knock on No3 to advise there as vulnerable child panics if someone outside window. | Inspection | IN000009 | Inspection |  | Inspect Scaffold | Occasion | 2021-03-25 12:18 | 14.34 | PropertyPlus | 437028 | 2.87 | 10.89 | 13.76
[17 empty] | total | 576.34

## 14 Smithville
Request | Reported Date | Raised By | Asset Reference | Address | Post Code | Special Instructions | Task Priority | Task Description | Unit Of Measure | Completion Date | Contract Value | Contractor Name | Works Order | Order Line VAT | Estimated Cost | cost | Estimated Completion Date | Contract Description | Asset Type
374765 | 2020-08-18 09:23 | helen.norris | 7800 | FLATS 14A TO 14D, SMITHVILLE CLOSE, ST BRIAVELS, LYDNEY, GLOUCESTERSHIRE | GL15 6TN |  | EM - Out of hours | Blocked manhole | Item | 2020-08-18 09:25 | 40 | Hygiene Services | 424064 | 8 | 40 | 48 | 2020-08-19 09:23 | Hygiene Services (Out Of Hours) | BLOCK
374765 | 2020-08-18 09:23 | helen.norris | 7800 | FLATS 14A TO 14D, SMITHVILLE CLOSE, ST BRIAVELS, LYDNEY, GLOUCESTERSHIRE | GL15 6TN |  | EM - Out of hours | Blocked manhole | Item | 2020-08-18 09:25 | 50 | Hygiene Services | 424064 | 10 | 50 | 60 | 2020-08-19 09:23 | Hygiene Services (Out Of Hours) | BLOCK
[15 empty] | total | 108

## 2_5 st. Marys
Request | Reported Date | Asset Reference | Address | Post Code | Special Instructions | Task Priority | SOR Code | SOR Trade | Attribute | Task Description | Unit Of Measure | Contract Value | Contractor Name | Works Order | Order Line VAT | Estimated Cost
369460 | 2020-04-20 | 7771 | FLATS 2 TO 5, ST. MARYS SQUARE, LYDNEY, GLOUCESTERSHIRE | GL15 5AL | Lydney - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 18 | PropertyPlus - Electrical | 417762 | 3.6 | 17.14 | 20.74
370600 | 2020-05-21 | 7771 | FLATS 2 TO 5, ST. MARYS SQUARE, LYDNEY, GLOUCESTERSHIRE | GL15 5AL | Lydney - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 18 | PropertyPlus - Electrical | 418996 | 3.6 | 17.14 | 20.74
371910 | 2020-06-19 | 7771 | FLATS 2 TO 5, ST. MARYS SQUARE, LYDNEY, GLOUCESTERSHIRE | GL15 5AL | Lydney - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 18 | PropertyPlus - Electrical | 420647 | 3.6 | 17.14 | 20.74
373484 | 2020-07-23 | 7771 | FLATS 2 TO 5, ST. MARYS SQUARE, LYDNEY, GLOUCESTERSHIRE | GL15 5AL | Lydney - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 18 | PropertyPlus - Electrical | 422502 | 3.6 | 17.14 | 20.74
374927 | 2020-08-21 | 7771 | FLATS 2 TO 5, ST. MARYS SQUARE, LYDNEY, GLOUCESTERSHIRE | GL15 5AL | Lydney - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 18 | PropertyPlus - Electrical | 424251 | 3.6 | 17.14 | 20.74
[16 empty] | total | 103.7

## 14_17 St. Marys
Request | Reported Date | Asset Reference | Address | Post Code | Special Instructions | Task Priority | SOR Code | SOR Trade | Attribute | Task Description | Unit Of Measure | Completion Date | Contract Value | Contractor Name | Works Order | Order Line VAT | Estimated Cost
369461 | 2020-04-20 | 7772 | FLATS 14 TO 17, ST. MARYS SQUARE, LYDNEY, GLOUCESTERSHIRE | GL15 5AL | Lydney - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-04-28 08:51 | 18 | PropertyPlus - Electrical | 417763 | 3.6 | 17.14 | 20.74
370601 | 2020-05-21 | 7772 | FLATS 14 TO 17, ST. MARYS SQUARE, LYDNEY, GLOUCESTERSHIRE | GL15 5AL | Lydney - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-05-26 13:55 | 18 | PropertyPlus - Electrical | 418997 | 3.6 | 17.14 | 20.74
371911 | 2020-06-19 | 7772 | FLATS 14 TO 17, ST. MARYS SQUARE, LYDNEY, GLOUCESTERSHIRE | GL15 5AL | Lydney - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-06-30 09:26 | 18 | PropertyPlus - Electrical | 420648 | 3.6 | 17.14 | 20.74
373485 | 2020-07-23 | 7772 | FLATS 14 TO 17, ST. MARYS SQUARE, LYDNEY, GLOUCESTERSHIRE | GL15 5AL | Lydney - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-07-28 11:51 | 18 | PropertyPlus - Electrical | 422503 | 3.6 | 17.14 | 20.74
374928 | 2020-08-21 | 7772 | FLATS 14 TO 17, ST. MARYS SQUARE, LYDNEY, GLOUCESTERSHIRE | GL15 5AL | Lydney - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-09-01 08:41 | 18 | PropertyPlus - Electrical | 424252 | 3.6 | 17.14 | 20.74
[17 empty] | total | 103.7

## 43&44 Oakfields
Request | Reported Date | Raised By | Asset Reference | Address | Post Code | Special Instructions | Task Priority | SOR Code | SOR Trade | Attribute | Task Description | Unit Of Measure | Works Order | Order Line VAT | Estimated Cost | cost
369459 | 2020-04-20 | chris.watkins | 7739 | FLATS 43 TO 44, OAKFIELDS, COLEFORD, GLOUCESTERSHIRE | GL16 8EN | Coleford - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 417761 | 3.6 | 17.14 | 20.74
370599 | 2020-05-21 | chris.watkins | 7739 | FLATS 43 TO 44, OAKFIELDS, COLEFORD, GLOUCESTERSHIRE | GL16 8EN | Coleford - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 418995 | 3.6 | 17.14 | 20.74
371980 | 2020-06-21 | chris.watkins | 7739 | FLATS 43 TO 44, OAKFIELDS, COLEFORD, GLOUCESTERSHIRE | GL16 8EN | Coleford - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 420719 | 3.6 | 17.14 | 20.74
373483 | 2020-07-23 | chris.watkins | 7739 | FLATS 43 TO 44, OAKFIELDS, COLEFORD, GLOUCESTERSHIRE | GL16 8EN | Coleford - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 422501 | 3.6 | 17.14 | 20.74
374926 | 2020-08-21 | chris.watkins | 7739 | FLATS 43 TO 44, OAKFIELDS, COLEFORD, GLOUCESTERSHIRE | GL16 8EN | Coleford - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 424250 | 3.6 | 17.14 | 20.74
385415 | 2021-03-16 11:41 | Joanna.Matthews | 7739 | FLATS 43 TO 44, OAKFIELDS, COLEFORD, GLOUCESTERSHIRE | GL16 8EN | as per Sarah D - solid support on the ground and some Acro props beneath this set of steps that are falling away from the building as a temporary measure until I can arrange for a structural engineer to attend | E - Daytime Emergency | BR000001 | Bricklayers |  | Attend and Repair if Possible | Occasion | 436773 | 5.73 | 21.77 | 27.5
[15 empty] | TOTAL | 131.2

## 33&34 Oakfields
Request | Reported Date | Asset Reference | Address | Post Code | Special Instructions | Task Priority | SOR Code | SOR Trade | Attribute | Task Description | Unit Of Measure | Completion Date | Contract Value | Contractor Name | Works Order | Order Line VAT | VAT | charge | cost
379533 | 2020-11-12 08:48 | helen.norris | 1477 | OAKFIELDS, COLEFORD, GLOUCESTERSHIRE | GL16 8EN | Communal: Fly Tipping; Other; car park areHousehold appliances/sof, fridge freezer etc- ; Requested by the housing officer; Clive wilce; .; RJ Contracting: | R - Routine |  |  |  | Other; car park areHousehold appliances/sof, fridge freezer etc- ; | 0ccn Units | 2020-11-13 13:40 | 72 | R.J.CONTRACTING | 429970 | 14.4 | 72 | 86.4
369458 | 2020-04-20 | chris.watkins | 7738 | FLATS 33 TO 34, OAKFIELDS, COLEFORD, GLOUCESTERSHIRE | GL16 8EN | Coleford - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-04-28 09:37 | 18 | PropertyPlus - Electrical | 417760 | 3.6 | 17.14 | 20.74
370598 | 2020-05-21 | chris.watkins | 7738 | FLATS 33 TO 34, OAKFIELDS, COLEFORD, GLOUCESTERSHIRE | GL16 8EN | Coleford - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-05-28 08:56 | 18 | PropertyPlus - Electrical | 418994 | 3.6 | 17.14 | 20.74
370931 | 2020-05-29 11:42 | nancy.weller | 7738 | FLATS 33 TO 34, OAKFIELDS, COLEFORD, GLOUCESTERSHIRE | GL16 8EN | Communal lighting inside and outside building not working, flats unaffected internallyCommunal: Communal lighting; phone call received; Tenant; Communal lighting - all lights not worki: | E - Daytime Emergency | EL898101 | Electrical |  | Lighting:Locate fault in any lighting circuit testing; remedy fault and report to Contract Administrator (can only be claimed if authorised by Contract Administrator). | Item | 2020-05-29 15:00 | 45.68 | PropertyPlus - Electrical | 419357 | 9.14 | 43.5 | 52.64
371979 | 2020-06-21 | chris.watkins | 7738 | FLATS 33 TO 34, OAKFIELDS, COLEFORD, GLOUCESTERSHIRE | GL16 8EN | Coleford - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-06-30 13:24 | 18 | PropertyPlus - Electrical | 420718 | 3.6 | 17.14 | 20.74
373482 | 2020-07-23 | chris.watkins | 7738 | FLATS 33 TO 34, OAKFIELDS, COLEFORD, GLOUCESTERSHIRE | GL16 8EN | Coleford - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-07-28 14:42 | 18 | PropertyPlus - Electrical | 422500 | 3.6 | 17.14 | 20.74
374925 | 2020-08-21 | chris.watkins | 7738 | FLATS 33 TO 34, OAKFIELDS, COLEFORD, GLOUCESTERSHIRE | GL16 8EN | Coleford - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-09-01 11:43 | 18 | PropertyPlus - Electrical | 424249 | 3.6 | 17.14 | 20.74
385417 | 2021-03-16 11:56 | helen.norris | 7738 | FLATS 33 TO 34, OAKFIELDS, COLEFORD, GLOUCESTERSHIRE | GL16 8EN | Communal: Communal lighting; Tenant; Communal lighting - broken; The light in the communal hallway is not woking; bulkhead with bulb; bulb: | E - Daytime Emergency | EL857001 | Electrical |  | Lamp:Take off; clear away and renew ne 100 watt RS tungsten lamp to light fitting including remove and refix cover. | Number Of | 2021-03-16 13:04 | 3.13 | PropertyPlus - Electrical | 436775 | 0.63 | 2.98 | 3.61
[18 empty] | TOTAL | 246.35

## turley court
Request | Reported Date | Asset Reference | Address | Post Code | Special Instructions | Task Priority | Task Description | Unit Of Measure | Completion Date | Contract Value | Contractor Name | Works Order | Order Line VAT | Estimated Cost | cost | Estimated Completion Date | Contract Description | Asset Type
369288 | 2020-04-09 16:11 | 10551 | TURLEY COURT, CINDERFORD, GLOUCESTERSHIRE | GL14 2PE |  | Non Responsive - Routine | Rees Electrical Dayworks - remove any unnecessary control gear on light fittings, finish the testing off which involves gaining access to the consumers unit in the garage block which we do have a key safe code which we can hopefully use, when its safe to do so after the corona virus outbreak, we will then issue the minor works certificate. *Further works authorised by Chris Watkins* | Occasion | 2020-04-10 15:02 | 102.15 | REES (ELECTRICAL) & SON | 417567 | 20.43 | 102.15 | 122.58 | 2020-05-12 17:00 | Rees Electrical & Son (Responsive) | ESTATE / BLOCK / ROAD
369318 | 2020-04-14 11:18 | 10551 | TURLEY COURT, CINDERFORD, GLOUCESTERSHIRE | GL14 2PE |  | R - Routine | 2x communal bin stores overflowing please clear | Item | 2020-04-14 13:36 | 180 | R.J.CONTRACTING | 417600 | 36 | 180 | 216 | 2020-05-13 17:00 | R.J.Contracting (Responsive) | ESTATE / BLOCK / ROAD
371229 | 2020-06-02 16:23 | 10551 | TURLEY COURT, CINDERFORD, GLOUCESTERSHIRE | GL14 2PE | RJ Contracting - clearance - 2 communal bin areas are full of rubbish. | U - Urgent | RJ Contracting - clearance - 2 communal bin areas are full of rubbish. | Occasion | 2020-06-22 17:29 | 150 | R.J.CONTRACTING | 419669 | 30 | 150 | 180 | 2020-06-09 17:00 | R.J.Contracting (Responsive) | ESTATE / BLOCK / ROAD
[14 empty] | total | 518.58
[14 empty] | each | 51.86

## tuthill rise
Request | Reported Date | Raised By | Asset Reference | Address | Post Code | Special Instructions | Task Priority | SOR Code | SOR Trade | Attribute | Task Description | Unit Of Measure | Completion Date | Contract Value | Contractor Name | Works Order | Order Line VAT | Estimated Cost |  | Asset Type
369108 | 2020-04-03 | chris.watkins | 7776 | FLATS 1 TO 6, TUTHILL, LYDNEY, GLOUCESTERSHIRE | GL15 5BP | Lydney - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-04-07 09:16 | 18 | PropertyPlus - Electrical | 417344 | 3.6 | 17.14 | 20.74 | BLOCK
369856 | 2020-04-30 | chris.watkins | 7776 | FLATS 1 TO 6, TUTHILL, LYDNEY, GLOUCESTERSHIRE | GL15 5BP | Lydney - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-05-04 15:19 | 18 | PropertyPlus - Electrical | 418161 | 3.6 | 17.14 | 20.74 | BLOCK
370810 | 2020-05-28 | chris.watkins | 7776 | FLATS 1 TO 6, TUTHILL, LYDNEY, GLOUCESTERSHIRE | GL15 5BP | Lydney - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-06-01 13:49 | 18 | PropertyPlus - Electrical | 419224 | 3.6 | 17.14 | 20.74 | BLOCK
372146 | 2020-06-24 | chris.watkins | 7776 | FLATS 1 TO 6, TUTHILL, LYDNEY, GLOUCESTERSHIRE | GL15 5BP | Lydney - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-06-30 10:40 | 18 | PropertyPlus - Electrical | 420907 | 3.6 | 17.14 | 20.74 | BLOCK
373460 | 2020-07-23 | chris.watkins | 7776 | FLATS 1 TO 6, TUTHILL, LYDNEY, GLOUCESTERSHIRE | GL15 5BP | Lydney - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-07-28 12:46 | 18 | PropertyPlus - Electrical | 422478 | 3.6 | 17.14 | 20.74 | BLOCK
374907 | 2020-08-21 | chris.watkins | 7776 | FLATS 1 TO 6, TUTHILL, LYDNEY, GLOUCESTERSHIRE | GL15 5BP | Lydney - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-09-01 09:31 | 18 | PropertyPlus - Electrical | 424231 | 3.6 | 17.14 | 20.74 | BLOCK
377012 | 2020-09-24 | chris.watkins | 7776 | FLATS 1 TO 6, TUTHILL, LYDNEY, GLOUCESTERSHIRE | GL15 5BP | Lydney - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-10-16 08:53 | 18 | PropertyPlus - Electrical | 426708 | 3.6 | 17.14 | 20.74 | BLOCK
379288 | 2020-11-09 | chris.watkins | 7776 | FLATS 1 TO 6, TUTHILL, LYDNEY, GLOUCESTERSHIRE | GL15 5BP | Lydney - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-11-12 14:52 | 18 | PropertyPlus - Electrical | 429706 | 3.6 | 17.14 | 20.74 | BLOCK
380513 | 2020-12-05 | chris.watkins | 7776 | FLATS 1 TO 6, TUTHILL, LYDNEY, GLOUCESTERSHIRE | GL15 5BP | Lydney - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-12-18 09:39 | 18 | PropertyPlus - Electrical | 431182 | 3.6 | 17.14 | 20.74 | BLOCK
382140 | 2021-01-11 | chris.watkins | 7776 | FLATS 1 TO 6, TUTHILL, LYDNEY, GLOUCESTERSHIRE | GL15 5BP | Lydney - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2021-01-13 12:22 | 18 | PropertyPlus - Electrical | 433033 | 3.6 | 17.14 | 20.74 | BLOCK
383526 | 2021-02-06 | chris.watkins | 7776 | FLATS 1 TO 6, TUTHILL, LYDNEY, GLOUCESTERSHIRE | GL15 5BP | Lydney - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2021-02-09 12:55 | 18 | PropertyPlus - Electrical | 434633 | 3.6 | 17.14 | 20.74 | BLOCK
369744 | 2020-04-27 16:03 | molly.osborne | 3687 | TUTHILL RISE, LYDNEY, GLOUCESTERSHIRE | GL15 5BP |  | R - Routine | GR000001 | Groundworks |  | Attend and Repair if Possible ivy clearance outside no 6, ivy is climbing into flu task by housing | Occasion | 2020-07-16 15:57 | 28.67 | PropertyPlus | 418044 | 5.73 | 21.77 | 27.5
384726 | 2021-03-02 | chris.watkins | 7776 | FLATS 1 TO 6, TUTHILL, LYDNEY, GLOUCESTERSHIRE | GL15 5BP | Lydney - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2021-03-08 08:03 | 18 | PropertyPlus - Electrical | 435982 | 3.6 | 17.14 | 20.74 | BLOCK
[18 empty] | total | 276.38

## Wyndcliffe House
Request | Reported Date | Raised By | Asset Reference | Address | Post Code | Special Instructions | Task Priority | SOR Code | SOR Trade | Attribute | Task Description | Unit Of Measure | Completion Date | Contract Value | Contractor Name | Works Order | Order Line VAT | Estimated Cost | cost | Estimated Completion Date | Contract Description | Asset Type
368992 | 2020-03-27 11:22 | Catherine.Marfell | 7804 | WYNDCLIFFE HOUSE, BUTTINGTON ROAD, SEDBURY, CHEPSTOW, GWENT | NP16 7AN |  | R - Routine | EL856601 | Electrical |  | Light:Isolate/reconnect supply; renew bulkhead light fitting with metal alloy clad body; polycarbonate light diffuser with screw fittings 100 watt tungsten lamp; tests; make good. | Number Of | 2020-07-30 16:21 | 337.3 | PropertyPlus - Electrical | 417184 | 67.46 | 321.24 | 388.7 | 2020-04-28 17:00 | PropertyPlus - Electrical | BLOCK
369118 | 2020-04-03 | chris.watkins | 7804 | WYNDCLIFFE HOUSE, BUTTINGTON ROAD, SEDBURY, CHEPSTOW, GWENT | NP16 7AN | Chepstow - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-04-07 10:55 | 18 | PropertyPlus - Electrical | 417354 | 3.6 | 17.14 | 20.74 | 2020-04-10 23:59 | PropertyPlus - Electrical | BLOCK
369859 | 2020-04-30 | chris.watkins | 7804 | WYNDCLIFFE HOUSE, BUTTINGTON ROAD, SEDBURY, CHEPSTOW, GWENT | NP16 7AN | Chepstow - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-05-05 10:40 | 18 | PropertyPlus - Electrical | 418164 | 3.6 | 17.14 | 20.74 | 2020-05-07 17:00 | PropertyPlus - Electrical | BLOCK
370887 | 2020-05-29 | chris.watkins | 7804 | WYNDCLIFFE HOUSE, BUTTINGTON ROAD, SEDBURY, CHEPSTOW, GWENT | NP16 7AN | Chepstow - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-06-02 09:49 | 18 | PropertyPlus - Electrical | 419305 | 3.6 | 17.14 | 20.74 | 2020-06-05 17:00 | PropertyPlus - Electrical | BLOCK
372203 | 2020-06-25 | chris.watkins | 7804 | WYNDCLIFFE HOUSE, BUTTINGTON ROAD, SEDBURY, CHEPSTOW, GWENT | NP16 7AN | Chepstow - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-07-01 13:48 | 18 | PropertyPlus - Electrical | 420973 | 3.6 | 17.14 | 20.74 | 2020-07-02 17:00 | PropertyPlus - Electrical | BLOCK
373565 | 2020-07-25 | chris.watkins | 7804 | WYNDCLIFFE HOUSE, BUTTINGTON ROAD, SEDBURY, CHEPSTOW, GWENT | NP16 7AN | Chepstow - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-08-03 11:30 | 18 | PropertyPlus - Electrical | 422604 | 3.6 | 17.14 | 20.74 | 2020-08-01 23:59 | PropertyPlus - Electrical | BLOCK
373856 | 2020-07-31 09:07 | owen.chandler | 7804 | WYNDCLIFFE HOUSE, BUTTINGTON ROAD, SEDBURY, CHEPSTOW, GWENT | NP16 7AN |  | R - Routine | EL856601 | Electrical |  | Light:Isolate/reconnect supply; renew bulkhead light fitting with metal alloy clad body; polycarbonate light diffuser with screw fittings 100 watt tungsten lamp; tests; make good. | Number Of | 2020-08-05 15:14 | 28.11 | PropertyPlus - Electrical | 422954 | 5.62 | 26.77 | 32.39 | 2020-08-28 17:00 | PropertyPlus - Electrical | BLOCK
375294 | 2020-08-27 | chris.watkins | 7804 | WYNDCLIFFE HOUSE, BUTTINGTON ROAD, SEDBURY, CHEPSTOW, GWENT | NP16 7AN | Chepstow - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-09-02 14:11 | 18 | PropertyPlus - Electrical | 424663 | 3.6 | 17.14 | 20.74 | 2020-09-03 17:00 | PropertyPlus - Electrical | BLOCK
377094 | 2020-09-25 | chris.watkins | 7804 | WYNDCLIFFE HOUSE, BUTTINGTON ROAD, SEDBURY, CHEPSTOW, GWENT | NP16 7AN | Chepstow - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-10-16 12:45 | 18 | PropertyPlus - Electrical | 426815 | 3.6 | 17.14 | 20.74 | 2020-10-02 17:00 | PropertyPlus - Electrical | BLOCK
379291 | 2020-11-09 | chris.watkins | 7804 | WYNDCLIFFE HOUSE, BUTTINGTON ROAD, SEDBURY, CHEPSTOW, GWENT | NP16 7AN | Chepstow - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-11-12 08:30 | 18 | PropertyPlus - Electrical | 429709 | 3.6 | 17.14 | 20.74 | 2020-11-16 17:00 | PropertyPlus - Electrical | BLOCK
379756 | 2020-11-17 13:45 | rachael.brooke | 7804 | WYNDCLIFFE HOUSE, BUTTINGTON ROAD, SEDBURY, CHEPSTOW, GWENT | NP16 7AN | 2 outside communal lights not working Communal: Communal lighting; Other; Communal lighting - not working; outside on flats; light not working: | U - Urgent | EL898101 | Electrical |  | Lighting:Locate fault in any lighting circuit testing; remedy fault and report to Contract Administrator (can only be claimed if authorised by Contract Administrator). | Item | 2020-11-17 17:41 | 45.68 | PropertyPlus - Electrical | 430245 | 9.14 | 43.5 | 52.64 | 2020-11-24 17:00 | PropertyPlus - Electrical | BLOCK
379882 | 2020-11-19 12:31 | rachael.brooke | 7804 | WYNDCLIFFE HOUSE, BUTTINGTON ROAD, SEDBURY, CHEPSTOW, GWENT | NP16 7AN |  | R - Routine | EL898001 | Electrical |  | Lighting:Locate fault in any lighting circuit testing and report to Contract Administrator (any repairs required to be ordered separately). | Item | 2020-11-20 12:53 | 13.35 | PropertyPlus - Electrical | 430391 | 2.67 | 12.71 | 15.38 | 2020-12-17 17:00 | PropertyPlus - Electrical | BLOCK
379882 | 2020-11-19 12:31 | rachael.brooke | 7804 | WYNDCLIFFE HOUSE, BUTTINGTON ROAD, SEDBURY, CHEPSTOW, GWENT | NP16 7AN | 2 Man Job - all outside lights to bypass microwave sensors, ladders. | R - Routine | EL000001 | Electrical |  | ELECTRICAL DAY WORKS | Number Of | 2020-11-25 15:55 | 20.42 | PropertyPlus - Electrical | 430391 | 4.08 | 19.45 | 23.53 | 2020-12-17 17:00 | PropertyPlus - Electrical | BLOCK
380516 | 2020-12-05 | chris.watkins | 7804 | WYNDCLIFFE HOUSE, BUTTINGTON ROAD, SEDBURY, CHEPSTOW, GWENT | NP16 7AN | Chepstow - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-12-17 10:58 | 18 | PropertyPlus - Electrical | 431185 | 3.6 | 17.14 | 20.74 | 2020-12-12 23:59 | PropertyPlus - Electrical | BLOCK
382143 | 2021-01-10 | chris.watkins | 7804 | WYNDCLIFFE HOUSE, BUTTINGTON ROAD, SEDBURY, CHEPSTOW, GWENT | NP16 7AN | Chepstow - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2021-01-13 14:25 | 18 | PropertyPlus - Electrical | 433036 | 3.6 | 17.14 | 20.74 | 2021-01-17 23:59 | PropertyPlus - Electrical | BLOCK
383529 | 2021-02-06 | chris.watkins | 7804 | WYNDCLIFFE HOUSE, BUTTINGTON ROAD, SEDBURY, CHEPSTOW, GWENT | NP16 7AN | Chepstow - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2021-02-11 09:18 | 18 | PropertyPlus - Electrical | 434636 | 3.6 | 17.14 | 20.74 | 2021-02-13 23:59 | PropertyPlus - Electrical | BLOCK
384853 | 2021-03-04 | chris.watkins | 7804 | WYNDCLIFFE HOUSE, BUTTINGTON ROAD, SEDBURY, CHEPSTOW, GWENT | NP16 7AN | Chepstow - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2021-03-08 08:52 | 18 | PropertyPlus - Electrical | 436113 | 3.6 | 17.14 | 20.74 | 2021-03-11 17:00 | PropertyPlus - Electrical | BLOCK
[18 empty] | total | 761.52

## 9 _15 wynols close
Request | Reported Date | Asset Reference | Address | Post Code | Special Instructions | Task Priority | SOR Code | SOR Trade | Attribute | Task Description | Unit Of Measure | Completion Date | Contract Value | Contractor Name | Works Order | Order Line VAT | Estimated Cost
369101 | 2020-04-03 | 7746 | FLATS 9 TO 15, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | Coleford - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-04-07 10:09 | 18 | PropertyPlus - Electrical | 417337 | 3.6 | 17.14 | 20.74
369896 | 2020-04-30 | 7746 | FLATS 9 TO 15, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | Coleford - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-05-04 13:42 | 18 | PropertyPlus - Electrical | 418201 | 3.6 | 17.14 | 20.74
370832 | 2020-05-28 | 7746 | FLATS 9 TO 15, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | Coleford - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-06-03 15:15 | 18 | PropertyPlus - Electrical | 419246 | 3.6 | 17.14 | 20.74
371399 | 2020-06-08 12:49 | 7746 | FLATS 9 TO 15, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | A&E- smoke alarm in communal hallway has melted due to there being a fire in hallway incident no. 18- | Planned Maintenance |  |  |  | A&E- smoke alarm in communal hallway has melted due to there being a fire in hallway incident no. 18- | Item | 2020-06-08 12:49 | 136.01 | A & E Fire and Security | 420029 | 27.2 | 136.01 | 163.21
372280 | 2020-06-26 | 7746 | FLATS 9 TO 15, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | Coleford - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-07-01 09:10 | 18 | PropertyPlus - Electrical | 421055 | 3.6 | 17.14 | 20.74
373585 | 2020-07-25 | 7746 | FLATS 9 TO 15, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | Coleford - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-08-03 11:27 | 18 | PropertyPlus - Electrical | 422624 | 3.6 | 17.14 | 20.74
375317 | 2020-08-27 | 7746 | FLATS 9 TO 15, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | Coleford - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-09-02 08:42 | 18 | PropertyPlus - Electrical | 424686 | 3.6 | 17.14 | 20.74
377107 | 2020-09-25 | 7746 | FLATS 9 TO 15, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | Coleford - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-10-15 16:25 | 18 | PropertyPlus - Electrical | 426828 | 3.6 | 17.14 | 20.74
379327 | 2020-11-08 | 7746 | FLATS 9 TO 15, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | Coleford - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-11-13 09:40 | 18 | PropertyPlus - Electrical | 429745 | 3.6 | 17.14 | 20.74
380552 | 2020-12-06 | 7746 | FLATS 9 TO 15, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | Coleford - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-12-18 08:38 | 18 | PropertyPlus - Electrical | 431221 | 3.6 | 17.14 | 20.74
382178 | 2021-01-11 | 7746 | FLATS 9 TO 15, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | Coleford - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2021-01-13 14:34 | 18 | PropertyPlus - Electrical | 433071 | 3.6 | 17.14 | 20.74
382761 | 2021-01-20 12:09 | 7746 | FLATS 9 TO 15, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | Windows - Glazing: Board up window; Staff; Roxy; Double glazing; Both panes smashed; Door; The communal entrance door to flats 9-15 is shattered. ; Window material PVCu; .The communal entrance door to flats 9-15 is shattered. please also measure up and reglaze : | E - Daytime Emergency | CA397001 | Carpentry |  | Opening:Board up window or door with 12mm Sterling or plywood board or blockboard including cut to size; nail over window or door (NOT to frame) and leave secure (per opening). | Number Of | 2021-01-20 13:40 | 29.76 | PropertyPlus | 433732 | 5.95 | 22.6 | 28.55
382761 | 2021-01-20 12:09 | 7746 | FLATS 9 TO 15, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR |  | R - Routine | CA000001 | Carpentry |  | Attend and Repair if Possible | Occasion | 2021-03-10 16:23 | 57.33 | PropertyPlus | 433773 | 11.47 | 43.54 | 55.01
383557 | 2021-02-06 | 7746 | FLATS 9 TO 15, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | Coleford - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2021-02-11 13:17 | 18 | PropertyPlus - Electrical | 434664 | 3.6 | 17.14 | 20.74
384883 | 2021-03-04 | 7746 | FLATS 9 TO 15, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | Coleford - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2021-03-08 10:37 | 18 | PropertyPlus - Electrical | 436143 | 3.6 | 17.14 | 20.74
[17 empty] | TOTAL | 495.65

## 1-7 WYNOLS CLOSE
Request | Reported Date | Asset Reference | Address | Post Code | Special Instructions | Task Priority | SOR Code | SOR Trade | Attribute | Task Description | Unit Of Measure | Completion Date | Contract Value | Contractor Name | Works Order | Order Line VAT | Estimated Cost
343962 | 2019-01-08 16:31 | 7745 | FLATS 1 TO 7, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR |  | R - Routine | CA303013 | Carpentry |  | Soffit:Renew soffit board with PVCu board ne 450mm wide including remove existing; renew noggins as necessary and fix new board to roof timbers and refix cables. | Linear Metre | 2020-04-15 09:12 | 1478.74 | Snape Contracting Ltd | 388611 | 295.75 | 1478.74 | 1774.49
343962 | 2019-01-08 16:31 | 7745 | FLATS 1 TO 7, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | 24 lm of verge to be renew plus undercloaking following RIS removal | R - Routine | RO201503 | Roofers/chimneys |  | Verge:Renew verge and undercloak to concrete interlocking tiles bed; point in coloured mortar (1:3) including all cutting of tiles and refix or renew stainless steel verge clips; remove spoil. | Linear Metre | 2020-04-15 09:12 | 642.9 | Snape Contracting Ltd | 388611 | 128.58 | 510.24 | 638.82
369100 | 2020-04-03 | 7745 | FLATS 1 TO 7, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | Coleford - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-04-07 09:31 | 18 | PropertyPlus - Electrical | 417336 | 3.6 | 17.14 | 20.74
369895 | 2020-04-30 | 7745 | FLATS 1 TO 7, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | Coleford - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-05-04 13:41 | 18 | PropertyPlus - Electrical | 418200 | 3.6 | 17.14 | 20.74
370831 | 2020-05-28 | 7745 | FLATS 1 TO 7, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | Coleford - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-06-03 15:05 | 18 | PropertyPlus - Electrical | 419245 | 3.6 | 17.14 | 20.74
372279 | 2020-06-26 | 7745 | FLATS 1 TO 7, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | Coleford - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-07-01 08:52 | 18 | PropertyPlus - Electrical | 421054 | 3.6 | 17.14 | 20.74
372520 | 2020-07-01 09:14 | 7745 | FLATS 1 TO 7, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | RJ CONTRACTING- CLEARANCE - 2 seater terracotta sofa in front garden of 1-7 Wynols Close | R - Routine |  |  |  | RJ CONTRACTING- CLEARANCE - 2 seater terracotta sofa in front garden of 1-7 Wynols Close | Occasion | 2020-07-20 14:54 | 48 | R.J.CONTRACTING | 421340 | 9.6 | 48 | 57.6
373584 | 2020-07-25 | 7745 | FLATS 1 TO 7, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | Coleford - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-08-03 11:07 | 18 | PropertyPlus - Electrical | 422623 | 3.6 | 17.14 | 20.74
375316 | 2020-08-27 | 7745 | FLATS 1 TO 7, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | Coleford - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-09-02 08:54 | 18 | PropertyPlus - Electrical | 424685 | 3.6 | 17.14 | 20.74
377106 | 2020-09-25 | 7745 | FLATS 1 TO 7, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | Coleford - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-10-15 16:16 | 18 | PropertyPlus - Electrical | 426827 | 3.6 | 17.14 | 20.74
379326 | 2020-11-08 | 7745 | FLATS 1 TO 7, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | Coleford - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-11-13 09:23 | 18 | PropertyPlus - Electrical | 429744 | 3.6 | 17.14 | 20.74
380551 | 2020-12-06 | 7745 | FLATS 1 TO 7, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | Coleford - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2020-12-18 08:38 | 18 | PropertyPlus - Electrical | 431220 | 3.6 | 17.14 | 20.74
381855 | 2021-01-06 08:53 | 7745 | FLATS 1 TO 7, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR |  | U - Urgent | EL898101 | Electrical |  | Lighting:Locate fault in any lighting circuit testing; remedy fault and report to Contract Administrator (can only be claimed if authorised by Contract Administrator). | Item | 2021-01-06 09:02 | 45.68 | PropertyPlus - Electrical | 432695 | 9.14 | 43.5 | 52.64
382177 | 2021-01-11 | 7745 | FLATS 1 TO 7, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | Coleford - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2021-01-13 14:33 | 18 | PropertyPlus - Electrical | 433070 | 3.6 | 17.14 | 20.74
383556 | 2021-02-06 | 7745 | FLATS 1 TO 7, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | Coleford - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2021-02-11 12:51 | 18 | PropertyPlus - Electrical | 434663 | 3.6 | 17.14 | 20.74
384882 | 2021-03-04 | 7745 | FLATS 1 TO 7, WYNOLS CLOSE, BROADWELL, COLEFORD, GLOUCESTERSHIRE | GL16 7RR | Coleford - Monthly alarm test | 7 Days (All Days) | EL881004 | Electrical | Fire Asset Testing - Monthly | Emergency Lighting:Attend and carry out test to emergency lighting and detectors to block of dwellings or scheme; test and leave in working order. | Number Of | 2021-03-08 10:49 | 18 | PropertyPlus - Electrical | 436142 | 3.6 | 17.14 | 20.74
[17 empty] | Total | 2772.43